SQUARE D - SCHNEIDER ELECTRIC

6160 STONERIDGE MALL ROAD

SUITE 200

PLEASANTON, CA. 94588

Quotation

| Q2C Number: 32635980 | Quote Number: 1 | Revision Number: 1 |
| --- | --- | --- |

Project Name: APP-SIDE DOWN

Project Location: TBD, CA

Quote Name: APP-SIDE DOWN

Through Addenda Number: 0

Bid Date: 01/31/13

Sales Representative: JONATHAN VASELL

Terms & Conditions

This Quotation is subject to Coordinated Project Terms.

Quote Markings

This quotation is subject to the following notes unless specifically indicated otherwise.

- Fuses are not included unless shown as a specific line item or in the item description.

- All equipment will be supplied in NEMA 1 enclosures unless otherwise indicated.

- Square D Standard (ANSI 49) paint will be supplied unless otherwise indicated.

- Low voltage dry type transformers do not include terminal lugs or external vibration pads.

- Factory witness tests, field tests, short circuit or coordination studies are not included unless shown as a separate line item.

- Seismic calculations are not included unless shown as a separate line item.

- Standard mechanical lug terminations will be provided unless shown as a separate line item or note.

- This bill of material when accompanied by a price is offered for sale under the standard terms and conditions of the Square D Company (a copy of which is available upon request).

- Prices do not include delivery in an open top truck.

- Quotation is valid for 30 days.

- Our proposal does NOT address any Buy America requirements.  If this project is subject to Buy America requirements, we will need more information and/or time to evaluate

PROJECT CLARIFICATIONS

PRICE FOR THE FOLLOWING B.O.M.:				 $ 31,457.00 CN

| 001-00 |  | 1 | Designation: 1L10C NQ ML PNLB (INT,BOX,TRIM) NQ Panelboard Consisting of 208Y/120V 3Ph 4W 60Hz SCCR: 10kA Fully Rated Main Lug Only: 200A Incoming Conductors: 1 - #6 - 350 kcmil AL Ground Bar Bus: Aluminum: Tin Plated 42 Circuit Interior Type 1Box: 38H x 20W x 5.75D Incoming: Bottom Trim: Surface with Door Box Cat No: MH38 Front Cat No: NC38S Ref. Drawing: PBA701A Feeders: 39 - 20A/1P QOB Optional Features: Ship Together,Standard Solid Neutral,Standard Ground Bar |  |  |
| --- | --- | --- | --- | --- | --- |
| 002-00 |  | 1 | Designation: 1L10D NQ ML PNLB (INT,BOX,TRIM) NQ Panelboard Consisting of 208Y/120V 3Ph 4W 60Hz SCCR: 10kA Fully Rated Main Lug Only: 225A Incoming Conductors: 1 - #6 - 350 kcmil AL Ground Bar Bus: Aluminum: Tin Plated 42 Circuit Interior Type 1Box: 38H x 20W x 5.75D Incoming: Bottom Trim: Surface with Door Box Cat No: MH38 Front Cat No: NC38S Ref. Drawing: PBA701A Feeders: 29 - 20A/1P QOB 13 - 20A/1P QOB Prepared Space Optional Features: Ship Together,Standard Solid Neutral,Standard Ground Bar |  |  |
| 003-00 |  | 1 | Designation: 1L11C NQ ML PNLB (INT,BOX,TRIM) NQ Panelboard Consisting of 208Y/120V 3Ph 4W 60Hz SCCR: 10kA Fully Rated Main Lug Only: 225A Incoming Conductors: 1 - #6 - 350 kcmil AL Ground Bar Bus: Aluminum: Tin Plated 42 Circuit Interior Type 1Box: 38H x 20W x 5.75D Incoming: Bottom Trim: Surface with Door Box Cat No: MH38 Front Cat No: NC38S Ref. Drawing: PBA701A Feeders: 42 - 20A/1P QOB Optional Features: Ship Together,Standard Solid Neutral,Standard Ground Bar |  |  |
| 004-00 |  | 1 | Designation: 1L11D NQ ML PNLB (INT,BOX,TRIM) NQ Panelboard Consisting of 208Y/120V 3Ph 4W 60Hz SCCR: 10kA Fully Rated Main Lug Only: 225A Incoming Conductors: 1 - #6 - 350 kcmil AL Ground Bar Bus: Aluminum: Tin Plated 42 Circuit Interior Type 1Box: 38H x 20W x 5.75D Incoming: Bottom Trim: Surface with Door Box Cat No: MH38 Front Cat No: NC38S Ref. Drawing: PBA701A Feeders: 23 - 20A/1P QOB 19 - 20A/1P QOB Prepared Space Optional Features: Ship Together,Standard Solid Neutral,Standard Ground Bar |  |  |
| 005-00 |  | 1 | Designation: 1L12C NQ ML PNLB (INT,BOX,TRIM) NQ Panelboard Consisting of 208Y/120V 3Ph 4W 60Hz SCCR: 10kA Fully Rated Main Lug Only: 225A Incoming Conductors: 1 - #6 - 350 kcmil AL Ground Bar Bus: Aluminum: Tin Plated 42 Circuit Interior Type 1Box: 38H x 20W x 5.75D Incoming: Bottom Trim: Surface with Door Box Cat No: MH38 Front Cat No: NC38S Ref. Drawing: PBA701A Feeders: 39 - 20A/1P QOB Optional Features: Ship Together,Standard Solid Neutral,Standard Ground Bar |  |  |
| 006-00 |  | 1 | Designation: 1L12D NQ ML PNLB (INT,BOX,TRIM) NQ Panelboard Consisting of 208Y/120V 3Ph 4W 60Hz SCCR: 10kA Fully Rated Main Lug Only: 225A Incoming Conductors: 1 - #6 - 350 kcmil AL Ground Bar Bus: Aluminum: Tin Plated 42 Circuit Interior Type 1Box: 38H x 20W x 5.75D Incoming: Bottom Trim: Surface with Door Box Cat No: MH38 Front Cat No: NC38S Ref. Drawing: PBA701A Feeders: 29 - 20A/1P QOB 13 - 20A/1P QOB Prepared Space Optional Features: Ship Together,Standard Solid Neutral,Standard Ground Bar |  |  |
| 007-00 |  | 1 | Designation: 1UPS10A NQ ML PNLB (INT,BOX,TRIM) NQ Panelboard Consisting of 208Y/120V 3Ph 4W 60Hz SCCR: 22kA Fully Rated Main Lug Only: 225A Incoming Conductors: 1 - #6 - 350 kcmil AL Ground Bar Bus: Aluminum: Tin Plated 42 Circuit Interior Type 1Box: 38H x 20W x 5.75D Incoming: Bottom Trim: Surface with Door Box Cat No: MH38 Front Cat No: NC38S Ref. Drawing: PBA701A Feeders: 6 - 30A/2P QOB-VH 4 - 20A/1P QOB-VH 26 - 20A/1P QOB-VH Prepared Space Optional Features: Ship Together,Standard Solid Neutral,Standard Ground Bar |  |  |
| 008-00 |  | 1 | Designation: 1UPS11B NQ ML PNLB (INT,BOX,TRIM) NQ Panelboard Consisting of 208Y/120V 3Ph 4W 60Hz SCCR: 22kA Fully Rated Main Lug Only: 400A Incoming Conductors: 1 - 1/0 - 750, (2) 1/0 - 350 kcmil AL Ground Bar Bus: Copper: Silver/Tin Plated 42 Circuit Interior Type 1Box: 50H x 20W x 5.75D Incoming: Bottom Trim: Surface with Door Box Cat No: MH50 Front Cat No: NC50VS Ref. Drawing: PBA709A Feeders: 20 - 30A/2P QOB-VH Optional Features: Ship Together,Standard Solid Neutral,Standard Ground Bar |  |  |
| 009-00 |  | 1 | Designation: 1H11B ILINE ML PNLB (INT,BOX,TRIM) I-Line Panelboard Consisting of 208Y/120V 3Ph 4W 60Hz SCCR: 65kA Fully Rated Main Lug Only: 400A Incoming Conductors: 1 - (2) #4 - 600 kcmil AL Ground Bar Bus: Copper: Tin Plated 27" of Mounting Inches Type 1Box: 52H x 26W x 6.5D Incoming: Bottom Trim: Surface with Door Box Cat No: HC2652B Front Cat No: HCN52TSD Ref. Drawing: PBA400 Type: HCN Feeders: 3 - 225A/3P QG Prepared Space 2 - 225A/3P QG Optional Features: Ship Together,Standard Solid Neutral,Standard Ground Bar,Standard Mains and Feeders Mechanically Restrained |  |  |
| 010-00 |  | 1 | Designation: 1UPS11A ILINE ML PNLB (INT,BOX,TRIM) I-Line Panelboard Consisting of 208Y/120V 3Ph 4W 60Hz SCCR: 42kA Fully Rated Main Lug Only: 600A Incoming Conductors: 1 - (2) #2 - 500kcmil AL Ground Bar Bus: Aluminum: Tin Plated 45" of Mounting Inches Type 1Box: 59H x 42W x 9.5D Incoming: Bottom Trim: Surface with Door Box Cat No: HC4259DB Front Cat No: HCW59TSD Ref. Drawing: PBA418 Type: HCP Feeders: 2 - 200A/3P QG Prepared Space 1 - 400A/3P LA 2 - 200A/3P QG Optional Features: Ship Together,Standard Solid Neutral,Standard Ground Bar,Standard Mains and Feeders Mechanically Restrained Branch User Placement |  |  |
| 022-00 |  | 1 | Designation: 1UPS11C NQ ML PNLB (INT,BOX,TRIM) NQ Panelboard Consisting of 208Y/120V 3Ph 4W 60Hz SCCR: 22kA Fully Rated Main Lug Only: 400A Incoming Conductors: 1 - 1/0 - 750, (2) 1/0 - 350 kcmil AL Ground Bar Bus: Copper: Silver/Tin Plated 42 Circuit Interior Type 1Box: 50H x 20W x 5.75D Incoming: Bottom Trim: Surface with Door Box Cat No: MH50 Front Cat No: NC50VS Ref. Drawing: PBA709A Feeders: 18 - 30A/2P QOB-VH 2 - 20A/1P QOB-VH 4 - 20A/1P QOB-VH Prepared Space Optional Features: Ship Together,Standard Solid Neutral,Standard Ground Bar |  |  |
| 023-00 |  | 1 | Designation: 1UPS12A NQ ML PNLB (INT,BOX,TRIM) NQ Panelboard Consisting of 208Y/120V 3Ph 4W 60Hz SCCR: 22kA Fully Rated Main Lug Only: 400A Incoming Conductors: 1 - 1/0 - 750, (2) 1/0 - 350 kcmil AL Ground Bar Bus: Copper: Silver/Tin Plated 42 Circuit Interior Type 1Box: 50H x 20W x 5.75D Incoming: Bottom Trim: Surface with Door Box Cat No: MH50 Front Cat No: NC50VS Ref. Drawing: PBA709A Feeders: 6 - 30A/2P QOB-VH 4 - 20A/1P QOB-VH 26 - 20A/1P QOB-VH Prepared Space Optional Features: Ship Together,Standard Solid Neutral,Standard Ground Bar |  |  |
| 024-00 |  | 232 | QOB120VH MINIATURE CIRCUIT BREAKER 120/240V 20A |  |  |
| 025-00 |  | 4 | QOB230VH MINIATURE CIRCUIT BREAKER 240V 30A |  |  |
| 026-00 |  | 2 | QOB340VH MINIATURE CIRCUIT BREAKER 240V 40A |  |  |
| 027-00 |  | 2 | QOB2125VH MINIATURE CIRCUIT BREAKER 240V 125A |  |  |
| 028-00 |  | 3 | QDA32200 MOLDED CASE CIRCUIT BREAKER 240V 200A |  |  |