**Problem Deliverables:**

* Vendor selection
	+ This will include the analysis of multiple vendor quotes to determine the most complete and cost effective option.
		- Light Fixtures
		- Design Build Lighting Control
		- Switchgear
* Man loaded schedule
	+ Include weekly and peak manpower projections based off of the General Contractors schedule.
	+ Note all electrical milestones.
	+ Include quotable item estimated delivery/ installation dates if required.
* Updated final estimate
	+ Includes final vendor selections.
	+ Fire Alarm modifications as (if) required.
	+ Impacts to gross margin.
	+ Etc.
* Provide log with all the estimate changes including associated costs. ROM costs (rough orders of magnitude) are acceptable.
* Detailed light fixture submittal with all accessories identified.
* Bulletin #1 estimate and scope letter.
* Change order log.
* Panel relocation narrative and/or sketch.
* Schedule of values