|  | Cutler-Hammer Eaton Corporation 2637 Collier Canyon Rd. Livermore, CA 94551 Tel (925) 454-3723 Fax (925) 454-3791 |
| --- | --- |

QUOTATION

For

App-Side Down

January 30, 2013

EQUIPMENT SUMMARY & SELLING POLICY

Cutler-Hammer, Inc. is pleased to offer the following Scope of Work and Bill of Material for your consideration. The Bill of Material is in accordance with our interpretation of the Plans and Specifications. This offer is subject to your approval and is conditional upon your acceptance of the applicable Eaton Electrical. Selling Policy listed below.

Schedules are based on current factory scheduling. Please contact your Eaton Electrical sales engineer or distributor if different dates are required. Shipment Dates are based on returned Approval Drawings marked “RELEASED FOR MANUFACTURE”.

| Equipment | Applicable C-H Selling Policy | Weeks for Approval Drawings Submittal | Weeks Shipment After Release of Order |
| --- | --- | --- | --- |
| Bus Plugs | 25-000 | ## 2 | ## 6 – 10 |
| Panelboards | 25-000 | ## 2 | ## 4 – 6 |

Job is quoted:

Per Plan Drawings and Spec Sections

Comments and special conditions as noted.

Per Plans Only – No Specs

Per  Take Off – Verbal

Per  Take Off – Written

Other:

Unless otherwise noted:

Fuses, Field Testing, Coordination Study, Transformer Lugs & Vibration Mountings are NOT included.

No Addendum Included.

Includes Addenda #

Respectfully,

Jeremy Angiola

Sales Engineer, San Francisco District

EATON Corporation

JeremyMAngiola@Eaton.com

### BILL OF MATERIAL

All orders must be released for manufacture within 90 days of date of order entry.  If approval drawings are required, drawings must be returned approved for release within 60 days of mailing.  If drawings are not returned accordingly, and/or if shipment is delayed for any reason, the price of the order will increase by 1.0% per month or fraction there of for the time the shipment is delayed.

Panelboards

1	Pow-R-Line1a
42 Circuits, 225A, Fully Rated, 208Y/120V  3Ph  4W, Aluminum Bus, 10k AIC,225A, Main Lugs Only[Top Fed], Surface Mounted

	1	225A, Main Lugs Only
	3	1P BAB Branch Provision Only
	39	20A, 1P BAB Branch Breaker
	1	Std. Bolted Al Ground Bar (Al/Cu Cable)
	1	Panel Nameplate - White with Black Letters
	1	Type 1 Enclosure:EZB2042R
	1	EZ Trim, Door in Door, Concealed Hardware:EZT2042S
Designations: 	1L10C

1	Pow-R-Line1a
42 Circuits, 225A, Fully Rated, 208Y/120V  3Ph  4W, Aluminum Bus, 10k AIC,225A, Main Lugs Only[Top Fed], Surface Mounted

	1	225A, Main Lugs Only
	13	1P BAB Branch Provision Only
	29	20A, 1P BAB Branch Breaker
	1	Std. Bolted Al Ground Bar (Al/Cu Cable)
	1	Panel Nameplate - White with Black Letters
	1	Type 1 Enclosure:EZB2042R
	1	EZ Trim, Door in Door, Concealed Hardware:EZT2042S
Designations: 	1L10D

1	Pow-R-Line1a
42 Circuits, 225A, Fully Rated, 208Y/120V  3Ph  4W, Aluminum Bus, 22k AIC,225A, Main Lugs Only[Top Fed], Surface Mounted

	1	225A, Main Lugs Only
	6	30A, 2P QBHW Branch Breaker
	26	1P QBHW Branch Provision Only
	4	20A, 1P QBHW Branch Breaker
	1	Std. Bolted Al Ground Bar (Al/Cu Cable)
	1	Panel Nameplate - White with Black Letters
	1	Type 1 Enclosure:EZB2042R
	1	EZ Trim, Door in Door, Concealed Hardware:EZT2042S
Designations: 	1UPS10A

1	Pow-R-Line3a
6 Circuits, 400A, Fully Rated, 480Y/277V  3Ph  4W, Aluminum Bus, 65k AIC,400A, Main Lugs Only[Top Fed], Surface Mounted

	1	400A, Main Lugs Only
	2	225A, 3P HFD Branch Breaker
	1	Std. Bolted Al Ground Bar (Al/Cu Cable)
	1	Panel Nameplate - White with Black Letters
	1	Type 1 Enclosure:EZB2048R
	1	EZ Trim, Door in Door, Concealed Hardware:EZT2048S
Designations: 	1H11B

1	Pow-R-Line1a
42 Circuits, 100A, Fully Rated, 208Y/120V  3Ph  4W, Aluminum Bus, 10k AIC,100A, Main Lugs Only[Top Fed], Surface Mounted

	1	100A, Main Lugs Only
	42	20A, 1P BAB Branch Breaker
	1	Std. Bolted Al Ground Bar (Al/Cu Cable)
	1	Panel Nameplate - White with Black Letters
	1	Type 1 Enclosure:EZB2042R
	1	EZ Trim, Door in Door, Concealed Hardware:EZT2042S
Designations: 	1L11C

1	Pow-R-Line1a
42 Circuits, 100A, Fully Rated, 208Y/120V  3Ph  4W, Aluminum Bus, 10k AIC,100A, Main Lugs Only[Top Fed], Surface Mounted

	1	100A, Main Lugs Only
	19	1P BAB Branch Provision Only
	23	20A, 1P BAB Branch Breaker
	1	Std. Bolted Al Ground Bar (Al/Cu Cable)
	1	Panel Nameplate - White with Black Letters
	1	Type 1 Enclosure:EZB2042R
	1	EZ Trim, Door in Door, Concealed Hardware:EZT2042S
Designations: 	1L11D

1	Pow-R-Line4
9 Circuits, 600A, Fully Rated, 208Y/120V  3Ph  4W, Aluminum Bus, 42k AIC,600A, Main Lugs Only[Top Fed], Surface Mounted

	1	600A, Main Lugs Only
	2	200A, 3P EDS Branch Breaker
	1	400A, 3P DK Branch Breaker
	1	Std. Bolted Al Ground Bar (Al/Cu Cable)
	1	Painted Box - ANSI 61
	1	Panel Nameplate - White with Black Letters
	1	Type 1 Enclosure:BX2457P
	1	Standard Covers
Designations: 	1UPS11A

1	Pow-R-Line1a
42 Circuits, 400A, Fully Rated, 208Y/120V  3Ph  4W, Aluminum Bus, 22k AIC,400A, Main Lugs Only[Top Fed], Surface Mounted

	1	400A, Main Lugs Only
	2	1P QBHW Branch Provision Only
	20	30A, 2P QBHW Branch Breaker
	1	Std. Bolted Al Ground Bar (Al/Cu Cable)
	1	Panel Nameplate - White with Black Letters
	1	Type 1 Enclosure:EZB2060R
	1	EZ Trim, Door in Door, Concealed Hardware:EZT2060S
Designations: 	1UPS11B

1	Pow-R-Line1a
42 Circuits, 400A, Fully Rated, 208Y/120V  3Ph  4W, Aluminum Bus, 22k AIC,400A, Main Lugs Only[Top Fed], Surface Mounted

	1	400A, Main Lugs Only
	2	20A, 1P QBHW Branch Breaker
	4	1P QBHW Branch Provision Only
	18	30A, 2P QBHW Branch Breaker
	1	Std. Bolted Al Ground Bar (Al/Cu Cable)
	1	Panel Nameplate - White with Black Letters
	1	Type 1 Enclosure:EZB2060R
	1	EZ Trim, Door in Door, Concealed Hardware:EZT2060S
Designations: 	1UPS11C

1	Pow-R-Line1a
42 Circuits, 225A, Fully Rated, 208Y/120V  3Ph  4W, Aluminum Bus, 10k AIC,225A, Main Lugs Only[Top Fed], Surface Mounted

	1	225A, Main Lugs Only
	3	1P BAB Branch Provision Only
	39	20A, 1P BAB Branch Breaker
	1	Std. Bolted Al Ground Bar (Al/Cu Cable)
	1	Panel Nameplate - White with Black Letters
	1	Type 1 Enclosure:EZB2042R
	1	EZ Trim, Door in Door, Concealed Hardware:EZT2042S
Designations: 	1L12C

1	Pow-R-Line1a
42 Circuits, 225A, Fully Rated, 208Y/120V  3Ph  4W, Aluminum Bus, 10k AIC,225A, Main Lugs Only[Top Fed], Surface Mounted

	1	225A, Main Lugs Only
	13	1P BAB Branch Provision Only
	29	20A, 1P BAB Branch Breaker
	1	Std. Bolted Al Ground Bar (Al/Cu Cable)
	1	Panel Nameplate - White with Black Letters
	1	Type 1 Enclosure:EZB2042R
	1	EZ Trim, Door in Door, Concealed Hardware:EZT2042S
Designations: 	1L12D

1	Pow-R-Line1a
42 Circuits, 225A, Fully Rated, 208Y/120V  3Ph  4W, Aluminum Bus, 22k AIC,225A, Main Lugs Only[Top Fed], Surface Mounted

	1	225A, Main Lugs Only
	6	30A, 2P QBHW Branch Breaker
	26	1P QBHW Branch Provision Only
	4	20A, 1P QBHW Branch Breaker
	1	Std. Bolted Al Ground Bar (Al/Cu Cable)
	1	Panel Nameplate - White with Black Letters
	1	Type 1 Enclosure:EZB2042R
	1	EZ Trim, Door in Door, Concealed Hardware:EZT2042S
Designations: 	1UPS12A

Circuit Breakers for Existing Gear

232	Circuit Breakers
Catalog Number: BAB1020
TYPE BAB CIRCUIT BREAKER 1P,20AMP, 120/240V,10,000AIC,40C,
Designations:

4	Circuit Breakers
Catalog Number: BAB3020H
BAB3020H BRKR     A
Designations:

2	Circuit Breakers
Catalog Number: BAB3035H
BAB3035H BRKR     A
Designations:

2	Circuit Breakers
Catalog Number: ED3125
ED 65kA @ 240 V, 3 Pole 125 Amps, Load Terminals
Designations:

3	Circuit Breakers
Catalog Number: ED3200
ED 65kA @ 240 V, 3 Pole 200 Amps, Load Terminals
Designations:

Busplug

1	Pow-R-Way III Bus Plugs
This is a  Plug-in Fusible Unit
208V/120V Volts, 400 Amps

	1	P3FN400 - 400A, 100% Neutral Stab (P3FN400)
	1	P3F325R - 400A, 240V Enclosure (P3F325RN)
 
Designations:

Metering

2	Power Monitoring - Metering

100A Emon Dmon Meter
 
Designations:

2	Power Monitoring - Metering

200A Emon Dmon Meter
 
Designations:

COMMENTS & SPECIAL CONDITIONS

- Fuses not included.

- Cable terminations use mechanical type lugs.  Mechanical lugs will accept either copper or aluminum cables.  Compression type lugs are available at an additional charge.

- Proposed equipment is finished using Cutler-Hammer’s standard application process and colors.

- Safety switches, enclosed circuit breakers, starters, lighting contactors, or other miscellaneous equipment are not included unless listed as a separate item within this bill of material.

- Safety switches, enclosed circuit breakers, starters, lighting contactors, transformers and other miscellaneous equipment do not include nameplates.

- Dry type transformers supplied do not include primary or secondary terminal lugs.

- Fuses are not included.

- No testing, training, start-up, seismic calculations or short circuit coordination is included in this bill of material unless specifically listed above.

- Cutler Hammer is not responsible for the design or implementation of this job. It is the contractor’s responsibility to verify all equipment dimensions, lug sizes and utility requirements.

TERMS & CONDITIONS SUMMARY

- Terms of payment:  See Selling Policy 25-000 for net and discount terms.

- Delivery of this electrical equipment to any common carrier shall constitute delivery to the purchaser; and all risk of loss and damage during shipment shall pass to the purchaser at that time.

- Freight charges are prepaid and included in the price F.O.B. point of shipment to accessible common carrier point nearest first destination.

- Standard Cutler-Hammer warranty is applicable for (12) months from date installation or (18) months from date of shipment, whichever comes first.

|  | Net Contractor Cost: $36,510.00 |  |
| --- | --- | --- |