## INSTRUCTIONS (hidden)
ASC 2020 - PRINT REPORT INSTRUCTIONS
STEP 1 | RENAME THIS FILE BY REMOVING THE WORD "TEMPLATE" FROM THE FILE NAME AND REPLACE WITH YOUR UNIVERSITY'S NAME I.E. "AUBURN UNIVERSITY - ASC 2020 ESTIMATE
STEP 2 | GO TO THE EXTENSION TAB IN BIDWINNER (LOCATED AT THE BOTTOM OF THE SCREEN)
NEXT, NAVIGATE TO SETTINGS (TOP OF SCREEN), CLICK ON SCREEN STYLES AND CLICK THE "+" ICON NEXT TO "EXTENSION - CONSOLIDATED ITEMS"
MAKE SURE THAT THE COLUMNS LISTED ON YOUR ESTIMATE MATCH THE OPTIONS SHOWN ABOVE
STEP 3 | ONCE YOU ARE COMPLETE WITH YOUR ESTIMATE AND HAVE NO FURTHER ADJUSTMENTS TO MAKE, COPY EACH SECTION OF THE BIDWINNER ESTIMATE INTO THIS SPREADSHEET
BY CLICKING ON THE GRAY CELL ABOVE THE NUMBER 1 AND TO THE LEFT OF THE DESCRIPTION YOU ARE ABLE TO HIGHLIGHT ALL CONTENT AT THE SAME TIME (HIGHLIGHTED CONTENT WILL TURN BLUE)
ONCE HIGHLIGHTED, RIGHT CLICK AND SELECT COPY.
NOW PAST THE CONTENT IN THE RESPECTIVE SHEET ON THIS WORKBOOK BY SELECTING CELL "A1", RIGHT CLICK THEN PASTE.
NOTE: YOU MUST SELECT CELL "A1" EACH TIME TO KEEP THE FORMATTING CORRECT.
STEP 5 | REPEAT STEP 3 FOR ALL PARTS OF THE ESTIMATE. THE FINAL PRICE SECTION MAY REQUIRE THAT YOU DELETE A COLUMN TO FIT THE COPIED CONTENT. PLEASE BE SURE TO DOUBLE CHECK THE FORMATTING BEFORE PRINTING.
STEP 6 | ONCE YOU ARE READY TO PRINT, RIGHT CLICK ON THIS TAB AND SELECT "HIDE" (THIS WILL ENSURE THAT THIS PAGE WILL NOT BE PRINTED)
STEP 7 | GO TO FILE -> PRINT TO BLUEBEAM PDF OR SAVE AS PDF

## Extension
| Description | Quantity | Trade Price | Unit | Disc % | Net Cost | Labor | Unit | Total Material | Total Hours
1 | F2 - 2x4 LED T-BAR LAY-IN | 489 | 217.4 | E | 0 | 0 | 0.4 | E | 0 | 195.6
2 | F2-1 - 2x4 LED T-BAR LAY-IN | 140 | 217.4 | E | 0 | 0 | 0.4 | E | 0 | 56
3 | F2B - 2x2 LED T-BAR LAY-IN | 245 | 157.65 | E | 0 | 0 | 0.4 | E | 0 | 98
4 | F2B-1 - 2x2 LED T-BAR LAY-IN | 509 | 157.65 | E | 0 | 0 | 0.4 | E | 0 | 203.6
5 | F5 - 4" RECESSED LED T-BAR | 433 | 406.67 | E | 0 | 0 | 0.75 | E | 0 | 324.75
6 | F6 - 3' LED LINEAR SLOT LIGHT | 31 | 358.75 | E | 0 | 0 | 0.75 | E | 0 | 23.25
7 | F6 - 4' LED LINEAR SLOT LIGHT | 19 | 358.75 | E | 0 | 0 | 0.75 | E | 0 | 14.25
8 | F6 - 5' LED LINEAR SLOT LIGHT | 3 | 455 | E | 0 | 0 | 1.13 | E | 0 | 3.39
9 | F6 - 6' LED LINEAR SLOT LIGHT | 7 | 521.75 | E | 0 | 0 | 1.13 | E | 0 | 7.91
10 | F6 - 8' LED LINEAR SLOT LIGHT | 16 | 684.8 | E | 0 | 0 | 1.25 | E | 0 | 20
11 | F6 - 9' LED LINEAR SLOT LIGHT | 18 | 766.3 | E | 0 | 0 | 0.4 | E | 0 | 7.2
12 | F6 - 10' LED LINEAR SLOT LIGHT | 12 | 847.25 | E | 0 | 0 | 0.4 | E | 0 | 4.8
13 | F6 - 11' LED LINEAR SLOT LIGHT | 1 | 1010.9 | E | 0 | 0 | 0.4 | E | 0 | 0.4
14 | F6 - 12' LED LINEAR SLOT LIGHT | 12 | 1010.9 | E | 0 | 0 | 0.4 | E | 0 | 4.8
15 | F6 - 13' LED LINEAR SLOT LIGHT | 2 | 1295.65 | E | 0 | 0 | 2.24 | E | 0 | 4.48
16 | F6 - 14' LED LINEAR SLOT LIGHT | 2 | 1295.65 | E | 0 | 0 | 2.24 | E | 0 | 4.48
17 | F6 - 16' LED LINEAR SLOT LIGHT | 6 | 1337 | E | 0 | 0 | 2.24 | E | 0 | 13.44
18 | F6 - 18' LED LINEAR SLOT LIGHT | 3 | 1500.05 | E | 0 | 0 | 2.52 | E | 0 | 7.56
19 | F6 - 20' LED LINEAR SLOT LIGHT | 6 | 1837 | E | 0 | 0 | 2.8 | E | 0 | 16.8
20 | F6A - 4' LED LINEAR RECESSED | 0 | 120.9 | E | 0 | 0 | 0 | E | 0 | 0
21 | F6A - 6' LED LINEAR RECESSED | 0 | 241.8 | E | 0 | 0 | 0 | E | 0 | 0
22 | F6A - 10' LED LINEAR RECESSED | 2 | 934.8 | E | 0 | 0 | 3 | E | 0 | 6
23 | F6A - 11' LED LINEAR SLOT LIGHT | 2 | 1025 | E | 0 | 0 | 0.4 | E | 0 | 0.8
24 | F6A - 12' LED LINEAR SLOT LIGHT | 6 | 1115.25 | E | 0 | 0 | 0.4 | E | 0 | 2.4
25 | F6A - 14' LED LINEAR RECESSED | 6 | 1295.65 | E | 0 | 0 | 4 | E | 0 | 24
26 | F6A - 16' LED LINEAR RECESSED | 1 | 1476.1 | E | 0 | 0 | 4 | E | 0 | 4
27 | F6A - 18' LED LINEAR RECESSED | 5 | 1656.55 | E | 0 | 0 | 5 | E | 0 | 25
28 | F6A - 20' LED LINEAR RECESSED | 2 | 1837 | E | 0 | 0 | 5 | E | 0 | 10
29 | F6A - 33' LED LINEAR RECESSED | 1 | 3009.8 | E | 0 | 0 | 8 | E | 0 | 8
30 | F9 - 2' LINEAR LED | 5 | 65.25 | E | 0 | 0 | 0.5 | E | 0 | 2.5
31 | F9 - 4' LINEAR LED | 6 | 87 | E | 0 | 0 | 0.5 | E | 0 | 3
32 | F10 - 4' LED VANITY LIGHT | 1 | 329.7 | E | 0 | 0 | 0.5 | E | 0 | 0.5
33 | F10 - 6' LED VANITY LIGHT | 5 | 489.7 | E | 0 | 0 | 1 | E | 0 | 5
34 | F10 - 8' LED VANITY LIGHT | 7 | 489.7 | E | 0 | 0 | 1 | E | 0 | 7
35 | F10 - 12' LED VANITY LIGHT | 0 | 435.24 | E | 0 | 0 | 0 | E | 0 | 0
36 | F10 - 16' LED VANITY LIGHT | 1 | 1215 | E | 0 | 0 | 2 | E | 0 | 2
37 | F11 - 3' LED LINEAR RECESSED | 16 | 302.15 | E | 0 | 0 | 1 | E | 0 | 16
38 | F11 - 4' LED LINEAR RECESSED | 5 | 302.15 | E | 0 | 0 | 1 | E | 0 | 5
39 | F11 - 6' LED LINEAR RECESSED | 5 | 502.65 | E | 0 | 0 | 2 | E | 0 | 10
40 | F11 - 8' LED LINEAR RECESSED | 0 | 502.65 | E | 0 | 0 | 0 | E | 0 | 0
41 | F11 - 10' LED LINEAR RECESSED | 1 | 754.85 | E | 0 | 0 | 3 | E | 0 | 3
42 | F11 - 12' LED LINEAR RECESSED | 2 | 754.85 | E | 0 | 0 | 3 | E | 0 | 6
43 | F11 - 16' LED LINEAR RECESSED | 1 | 985.85 | E | 0 | 0 | 4 | E | 0 | 4
44 | F12 - 4x4 SCENIC PANEL | 3 | 1000 | E | 0 | 0 | 14 | E | 0 | 42
45 | F12A - 2x2 SCENIC PANEL | 15 | 750 | E | 0 | 0 | 4 | E | 0 | 60
46 | F12/F12A TRIM | 2 | 0 | E | 0 | 0 | 7 | E | 0 | 14
47 | F13 - LED RECESSED WALL WASHER | 7 | 355 | E | 0 | 0 | 0.75 | E | 0 | 5.25
48 | F14 - SQUARE LED RECESSED | 138 | 441.3 | E | 0 | 0 | 0.75 | E | 0 | 103.5
49 | F15 - 78' LED RECTANGLE LINEAR TAPE | 1 | 2850 | E | 0 | 0 | 9.75 | E | 0 | 9.75
50 | F15A - 54' LED RECTANGLE LINEAR TAPE | 1 | 2350 | E | 0 | 0 | 6.75 | E | 0 | 6.75
51 | F16 - LED RECESSED DOWN LIGHT | 9 | 620 | E | 0 | 0 | 0.75 | E | 0 | 6.75
52 | X1 - RECESSED EDGELIT EXIT | 154 | 173.95 | E | 0 | 0 | 1 | E | 0 | 154
53 | DUPLEX RECEPT | 143 | 0 | E | 0 | 0 | 0 | E | 0 | 0
54 | DUPLEX RECEPT CONTROLLED | 24 | 0 | E | 0 | 0 | 0 | E | 0 | 0
55 | DBL DUPLEX RECEPT | 31 | 0 | E | 0 | 0 | 0 | E | 0 | 0
56 | DBL DUPLEX RECEPT CONTROLLED | 45 | 0 | E | 0 | 0 | 0 | E | 0 | 0
57 | GFI RECEPT | 3 | 0 | E | 0 | 0 | 0 | E | 0 | 0
58 | DBL RECEPT POKE THRU | 24 | 0 | E | 0 | 0 | 0 | E | 0 | 0
59 | MOD FURNITURE CONN | 38 | 0 | E | 0 | 0 | 0 | E | 0 | 0
60 | MOD FURN CONN POKE THRU | 9 | 0 | E | 0 | 0 | 0 | E | 0 | 0
61 | MECHO SHADE CONN | 55 | 0 | E | 0 | 0 | 0 | E | 0 | 0
62 | 20A CONN | 1 | 0 | E | 0 | 0 | 0 | E | 0 | 0
63 | WIREMOLD w/6 RECEPTS 10' | 3 | 0 | E | 0 | 0 | 0 | E | 0 | 0
64 | WIREMOLD w/6 RECEPTS 12' | 2 | 0 | E | 0 | 0 | 0 | E | 0 | 0
65 | $$ - 2G SWITCH | 4 | 0 | E | 0 | 0 | 0 | E | 0 | 0
66 | $D - DIMMER SWITCH | 1 | 0 | E | 0 | 0 | 0 | E | 0 | 0
67 | $D$D - 2G DIMMER SWITCH | 2 | 0 | E | 0 | 0 | 0 | E | 0 | 0
68 | S-lv - 1G LO-VOLT SWITCH | 177 | 0 | E | 0 | 0 | 0 | E | 0 | 0
69 | OS - WALL OCCUPANCY SENSOR | 103 | 0 | E | 0 | 0 | 0 | E | 0 | 0
70 | OS-D - WALL OCCUPANCY DIMMING SENSOR | 379 | 0 | E | 0 | 0 | 0 | E | 0 | 0
71 | OS - CEILING OCCUPANCY SENSOR | 273 | 0 | E | 0 | 0 | 0 | E | 0 | 0
72 | PC - DAYLIGHT SENSOR PHOTO CELL | 31 | 0 | E | 0 | 0 | 0 | E | 0 | 0
73 | PC WALL MNT DAYLIGHT SENSOR PHOTOCELL | 6 | 0 | E | 0 | 0 | 0 | E | 0 | 0
74 | ROOM CONTROLLER RELAY | 300 | 0 | E | 0 | 0 | 0 | E | 0 | 0
75 | LMRC-111 ROOM CONTROLLER | 183 | 0 | E | 0 | 0 | 0 | E | 0 | 0
76 | LMRC-112 ROOM CONTROLLER | 475 | 0 | E | 0 | 0 | 0 | E | 0 | 0
77 | LMRC-211 ROOM CONTROLLER | 1 | 0 | E | 0 | 0 | 0 | E | 0 | 0
78 | LMRC-212 ROOM CONTROLLER | 6 | 0 | E | 0 | 0 | 0 | E | 0 | 0
79 | LMRC-213 ROOM CONTROLLER | 10 | 0 | E | 0 | 0 | 0 | E | 0 | 0
80 | LMBC-300 NETWORK BRIDGE | 868 | 0 | E | 0 | 0 | 0 | E | 0 | 0
81 | ELCU-200 EMERGENCY LIGHT CONTROL | 145 | 0 | E | 0 | 0 | 0 | E | 0 | 0
82 | LMSM SEGMENT MANAGER | 21 | 0 | E | 0 | 0 | 0 | E | 0 | 0
83 | 30A/3P DISCONNECT | 1 | 0 | E | 0 | 0 | 0 | E | 0 | 0
84 | MRI/CT SCAN/GEN RAD/FLUORRO MDP | 6 | 0 | E | 0 | 0 | 6 | E | 0 | 36
85 | CT SCAN PDU | 1 | 0 | E | 0 | 0 | 6 | E | 0 | 6
86 | CT SCAN/GEN RAD PARTIAL UPS | 2 | 0 | E | 0 | 0 | 6 | E | 0 | 12
87 | RAD/FLUORRO UPS | 2 | 0 | E | 0 | 0 | 6 | E | 0 | 12
88 | GAMMA CAMERA UPS | 1 | 0 | E | 0 | 0 | 6 | E | 0 | 6
89 | MRI/CT SCAN/X-RAY WARNING LIGHT | 11 | 0 | E | 0 | 0 | 0.45 | E | 0 | 4.95
90 | X-RAY ON LIGHT | 1 | 0 | E | 0 | 0 | 0.45 | E | 0 | 0.45
91 | SEO - EPO BUTTON | 7 | 0 | E | 0 | 0 | 0.45 | E | 0 | 3.15
92 | DLK1 - DOOR INTERLOCK | 2 | 0 | E | 0 | 0 | 0.45 | E | 0 | 0.9
93 | 10x3.5" FLOOR DUCT 15' | 1 | 0 | E | 0 | 0 | 0 | E | 0 | 0
94 | 10"x3.5" WALL DUCT 10' | 5 | 0 | E | 0 | 0 | 0 | E | 0 | 0
95 | 18"x3.5" WALL DUCT 10' | 3 | 0 | E | 0 | 0 | 0 | E | 0 | 0
96 | GROMMET MATERIAL | 30 | 0 | E | 0 | 0 | 0 | E | 0 | 0
97 | SECURITY DOOR SINGLE | 51 | 0 | E | 0 | 0 | 0 | E | 0 | 0
98 | SECURITY DOOR DOUBLE | 7 | 0 | E | 0 | 0 | 0 | E | 0 | 0
99 | DOOR CONTACT | 2 | 0 | E | 0 | 0 | 0 | E | 0 | 0
100 | CCTV - CAMERA | 73 | 0 | E | 0 | 0 | 2.1 | E | 0 | 153.3
101 | CCTV - 360 DEG CAMERA | 24 | 0 | E | 0 | 0 | 0 | E | 0 | 0
102 | WAP - WIRELESS ACCESS POINT | 96 | 0 | E | 0 | 0 | 0 | E | 0 | 0
103 | A - NC CORRIDOR DOME LIGHT w/AUDIBLE TONE | 57 | 0 | E | 0 | 0 | 0 | E | 0 | 0
104 | CBE - NC CODE BLUE STATION | 159 | 0 | E | 0 | 0 | 0 | E | 0 | 0
105 | D - NC CORRIDOR DOME LIGHT WALL MNT | 3 | 0 | E | 0 | 0 | 0 | E | 0 | 0
106 | Dc - NC CORRIDOR DOME LIGHT CEIL MNT | 207 | 0 | E | 0 | 0 | 0 | E | 0 | 0
107 | EP - NC EMERG PULLCORD STATION | 38 | 0 | E | 0 | 0 | 0 | E | 0 | 0
108 | SP - NC A/V SINGLE PATIENT STA | 2 | 0 | E | 0 | 0 | 0 | E | 0 | 0
109 | TST - NC TOUCHSCREEN STAFF TERMINAL | 2 | 0 | E | 0 | 0 | 0 | E | 0 | 0
110 | AVC - A/V MEDIA CONTROLLER | 10 | 0 | E | 0 | 0 | 0 | E | 0 | 0
111 | AVT - A/V TOUCH DEVICE | 10 | 0 | E | 0 | 0 | 0 | E | 0 | 0
112 | Sav - A/V SPEAKER | 62 | 0 | E | 0 | 0 | 0 | E | 0 | 0
113 | MON 75 - 75" FLATSCREEN MONITOR | 10 | 0 | E | 0 | 0 | 0 | E | 0 | 0
114 | VCAM - VIDEO CAMERA | 10 | 0 | E | 0 | 0 | 0 | E | 0 | 0
115 | M - MICROPHONE & INPUT JACK | 10 | 0 | E | 0 | 0 | 0 | E | 0 | 0
116 | VAV CONN | 28 | 0 | E | 0 | 0 | 0 | E | 0 | 0
117 | LF1A1 - 100A/42 208/120V MLO | 1 | 0 | E | 0 | 0 | 1.5 | E | 0 | 1.5
118 | L2A2 - 225A/84 2SECT 208/120V MCB | 1 | 0 | E | 0 | 0 | 3 | E | 0 | 3
119 | L2A3 - 225A/84 2SECT 208/120V MCB | 1 | 0 | E | 0 | 0 | 3 | E | 0 | 3
120 | L4A2 - 225A/84 2SECT 208/120V MCB | 1 | 0 | E | 0 | 0 | 3 | E | 0 | 3
121 | L3A2 - 225A/84 2SECT 208/120V MCB | 1 | 0 | E | 0 | 0 | 3 | E | 0 | 3
122 | H2C - 800A/18 480/277V MCB | 1 | 0 | E | 0 | 0 | 6 | E | 0 | 6
123 | L3A3/4 - 225A/84 2SECT 208/120V MCB | 2 | 0 | E | 0 | 0 | 3 | E | 0 | 6
124 | LS3C - 100A/42 208/120V 60A-MCB | 1 | 0 | E | 0 | 0 | 1.5 | E | 0 | 1.5
125 | L4A3 - 400A/84 2SECT 208/120V MCB | 1 | 0 | E | 0 | 0 | 4 | E | 0 | 4
126 | L4A4 - 225A/84 2SECT 208/120V MCB | 1 | 0 | E | 0 | 0 | 3 | E | 0 | 3
127 | LS4C - 100A/42 208/120V 60A-MCB | 1 | 0 | E | 0 | 0 | 1.5 | E | 0 | 1.5
128 | L5A2 - 225A/84 2SECT 208/120V MCB | 1 | 0 | E | 0 | 0 | 3 | E | 0 | 3
129 | L5A3 - 400A/84 2SECT 208/120V MCB | 1 | 0 | E | 0 | 0 | 4 | E | 0 | 4
130 | L5A4 - 225A/84 2SECT 208/120V MCB | 1 | 0 | E | 0 | 0 | 3 | E | 0 | 3
131 | LS5C - 100A/42 208/120V 60A-MCB | 1 | 0 | E | 0 | 0 | 1.5 | E | 0 | 1.5
132 | L6A2 - 225A/84 2SECT 208/120V MCB | 1 | 0 | E | 0 | 0 | 3 | E | 0 | 3
133 | L6A3 - 400A/84 2SECT 208/120V MCB | 1 | 0 | E | 0 | 0 | 4 | E | 0 | 4
134 | L6A4 - 225A/84 2SECT 208/120V MCB | 1 | 0 | E | 0 | 0 | 3 | E | 0 | 3
135 | LS6C - 100A/42 208/120V 60A-MCB | 1 | 0 | E | 0 | 0 | 1.5 | E | 0 | 1.5
136 | L7A2 - 400A/84 2SECT 208/120V MCB | 1 | 0 | E | 0 | 0 | 4 | E | 0 | 4
137 | L7A3 - 400A/84 2SECT 208/120V MCB | 1 | 0 | E | 0 | 0 | 4 | E | 0 | 4
138 | L7A4 - 225A/42 208/120V 150A-MCB | 1 | 0 | E | 0 | 0 | 1.5 | E | 0 | 1.5
139 | LS7C - 100A/42 208/120V 60A-MCB | 1 | 0 | E | 0 | 0 | 1.5 | E | 0 | 1.5
140 | L2B1 - 400A/42 208/120V MCB PANEL | 1 | 0 | E | 0 | 0 | 2 | E | 0 | 2
141 | L3A1 - 500A/42 208/120V MCB PANEL | 1 | 0 | E | 0 | 0 | 6 | E | 0 | 6
142 | L4A1 - 500A/42 208/120V MCB PANEL | 1 | 0 | E | 0 | 0 | 6 | E | 0 | 6
143 | L5A1 - 500A/42 208/120V MCB PANEL | 1 | 0 | E | 0 | 0 | 6 | E | 0 | 6
144 | L6A1 - 500A/42 208/120V MCB PANEL | 1 | 0 | E | 0 | 0 | 6 | E | 0 | 6
145 | L7A1 - 500A/42 208/120V MCB PANEL | 1 | 0 | E | 0 | 0 | 6 | E | 0 | 6
146 | H2B - 400A/42 480/277V MLO PANEL | 1 | 0 | E | 0 | 0 | 2 | E | 0 | 2
147 | T2B - 112.5KVA XFMR | 1 | 0 | E | 0 | 0 | 8 | E | 0 | 8
148 | 225A 208V REMOTE METER w/CT's | 7 | 0 | E | 0 | 0 | 4 | E | 0 | 28
149 | MC CABLE LTG. FIXTURE WHIP | 1816 | 0 | E | 0 | 0 | 0.18 | E | 0 | 326.88
150 | #12/3C CU MC CABLE STL ARMOR (FIXTURE WHIP) | 12925 | 1555.68 | M | 49.73 | 782 | 0 | M | 10107.35 | 0
151 | 1/2" MC CONNECTOR | 4058 | 180.47 | C | 79.5 | 37 | 0 | C | 1501.46 | 0
152 | LAY-IN FIXTURE T-BAR CLIP | 2766 | 49.29 | C | 20 | 39.43 | 3 | C | 1090.63 | 82.98
153 | SURFACE FIXTURE SUPPORT | 50 | 0.5 | E | 0 | 0.5 | 0.05 | E | 25 | 2.5
154 | INTERIOR LIGHTING FIXTURES COUNT | 2362 | 0 | E | 0 | 0 | 0 | E | 0 | 0
155 | LV SWITCH RFS 6 | 177 | 0 | E | 0 | 0 | 0.1 | E | 0 | 17.7
156 | 1 GANG 1 SWITCH PLATE | 183 | 5.74 | E | 0 | 5.74 | 15 | C | 1050.42 | 27.45
157 | 20A SINGLE POLE TOGGLE SWITCH | 41 | 1996 | C | 91.63 | 167 | 20 | C | 68.47 | 8.2
158 | 1500W SP INC 120V DIMMER | 6 | 237.37 | E | 0 | 237.37 | 0.55 | E | 1424.22 | 3.3
159 | WALL DUAL LEVEL OCCUPANCY SENSOR | 103 | 145.95 | E | 10 | 131.36 | 0.35 | E | 13530.08 | 36.05
160 | CEILING SENSOR 1000SF | 273 | 119 | E | 30 | 83.3 | 0.35 | E | 22740.9 | 95.55
161 | 277V POWER PACK | 304 | 38.85 | E | 0 | 38.85 | 0.35 | E | 11810.4 | 106.4
162 | #18/3 TW. PLENUM RATED CABLE | 4560 | 150 | M | 0 | 150 | 10 | M | 684 | 45.6
163 | DUPLEX RECEPTACLE N5-15R | 12 | 753 | C | 76.23 | 179 | 20 | C | 21.48 | 2.4
164 | DPLX GFCI RCPT W/LOCKOUT IND LTG N5-20R | 3 | 20.45 | E | 62.23 | 7.72 | 25 | C | 23.16 | 0.75
165 | HOSPITAL DUPLEX RCPT N5-20 | 361 | 2710.76 | C | 89.3 | 290 | 20 | C | 1046.9 | 72.2
166 | 1G PLASTIC TOGGLE SWITCH PLATE | 1 | 59.75 | C | 69.24 | 18.38 | 0 | C | 0.18 | 0
167 | 2G PLASTIC TOGGLE SWITCH PLATE | 6 | 118.85 | C | 69.08 | 36.75 | 0 | C | 2.21 | 0
168 | 1G PLASTIC DUPLEX RECEPTACLE PLATE | 337 | 59.75 | C | 69.24 | 18.38 | 0 | C | 61.94 | 0
169 | 2G PLASTIC DUPLEX RECEPTACLE PLATE | 76 | 166.3 | C | 77.9 | 36.75 | 0 | C | 27.93 | 0
170 | 1G PLASTIC BLANK PLATE | 26 | 102.8 | C | 82.12 | 18.38 | 0 | C | 4.78 | 0
171 | 1G SS BLANK PLATE | 166 | 336 | C | 76.49 | 79 | 0 | C | 131.14 | 0
172 | 1G PLASTIC DECORA PLATE | 3 | 124.05 | C | 86.05 | 17.3 | 0 | C | 0.52 | 0
173 | 4"SQ x 1-1/2"D BOX spl | 158 | 166.91 | C | 59.98 | 66.8 | 0.18 | E | 105.54 | 28.44
174 | 4"SQ x 2-1/8"D BOX spl | 3911 | 291.56 | C | 74.71 | 73.74 | 0.18 | E | 2883.97 | 703.98
175 | 4-11/16"SQ x 2-1/8"D BOX 3/4"ko | 94 | 415.06 | C | 69.28 | 127.51 | 0.21 | E | 119.86 | 19.74
176 | 4-11/16"SQ x 2-1/8"D BOX 1"ko | 2195 | 415.06 | C | 74.65 | 105.23 | 0.21 | E | 2309.8 | 460.95
177 | 4-11/16"SQ EXT. RING spl | 38 | 2585.14 | C | 87.92 | 312.35 | 0.05 | E | 118.69 | 1.9
178 | 4"SQ BLANK COVER | 2216 | 66.65 | C | 72.62 | 18.25 | 0 | E | 404.42 | 0
179 | 4"SQ ONE GANG 5/8"D RING | 1743 | 104.63 | C | 71.12 | 30.22 | 0 | E | 526.73 | 0
180 | 4"SQ TWO GANG 5/8"D RING | 82 | 148.84 | C | 74.17 | 38.44 | 0 | E | 31.52 | 0
181 | 4-11/16"SQ BLANK COVER | 2270 | 113.98 | C | 69.25 | 35.05 | 0 | E | 795.63 | 0
182 | 4-11/16"SQ ONE GANG 5/8"D RING | 19 | 1154.44 | C | 93.41 | 76.08 | 0 | E | 14.46 | 0
183 | 4"SQ RAISED SINGLE SWITCH COVER | 28 | 173.11 | C | 73.77 | 45.41 | 0.1 | E | 12.71 | 2.8
184 | 4"OCT PLATE W/ko's | 125 | 445.53 | C | 79.68 | 90.54 | 0 | E | 113.18 | 0
185 | 24" (4) BOX MOUNTING BRACKET RBS24 | 759 | 460.21 | C | 22 | 358.96 | 0.05 | E | 2724.51 | 37.95
186 | 16" SCREW GUN BOX BRACKET ADJUSTABLE | 12 | 292.33 | C | 22 | 228.01 | 0.05 | E | 27.36 | 0.6
187 | 24" HEAVY DUTY T-BAR BOX HANGER | 553 | 681.12 | C | 22 | 531.27 | 0.05 | E | 2937.92 | 27.65
188 | MULTI-FUNCTIONAL CLIP | 4932 | 45.13 | C | 22 | 35.2 | 0.05 | E | 1736.06 | 246.6
189 | GROUND PIGTAIL W/GRD SCREW | 6509 | 57.66 | C | 0 | 57.66 | 0 | E | 3753.09 | 0
190 | FURNITURE CONNECTION | 94 | 0 | E | 0 | 0 | 0.75 | E | 0 | 70.5
191 | RC3 FLUSH POKE-THRU ASSEMBLY (GY) | 12 | 265.36 | E | 15 | 225.56 | 1 | E | 2706.72 | 12
192 | RC7 FURN FEED FLUSH POKE-THRU ASS (GY) | 9 | 170.44 | E | 15 | 144.87 | 1 | E | 1303.83 | 9
193 | 4"x4"x4" N1 SCREW COVER BOX | 4 | 16.81 | E | 60.58 | 6.63 | 0.6 | E | 26.52 | 2.4
194 | 6"x6"x4" N1 SCREW COVER BOX | 4 | 21.77 | E | 63.36 | 7.98 | 0.8 | E | 31.92 | 3.2
195 | 6"x12"x4" N1 SCREW COVER BOX | 2 | 37.98 | E | 30 | 26.59 | 0.85 | E | 53.18 | 1.7
196 | 8"x8"x4" N1 SCREW COVER BOX | 1 | 29.71 | E | 63.33 | 10.89 | 0.85 | E | 10.89 | 0.85
197 | 10"x10"x4" N1 SCREW COVER BOX | 58 | 39.05 | E | 63.3 | 14.33 | 1 | E | 831.14 | 58
198 | 12"x16"x4" N1 SCREW COVER BOX | 1 | 73.81 | E | 30 | 51.67 | 1.35 | E | 51.67 | 1.35
199 | 18"x18"x4" N1 SCREW COVER BOX | 1 | 93.35 | E | 60.64 | 36.74 | 1.65 | E | 36.74 | 1.65
200 | 12"x12"x6" N1 SCREW COVER BOX | 41 | 58.81 | E | 63.33 | 21.56 | 1.3 | E | 883.96 | 53.3
201 | 12"x16"x6" N1 SCREW COVER BOX | 2 | 85.14 | E | 53.48 | 39.61 | 1.35 | E | 79.22 | 2.7
202 | 18"x18"x10" N1 SCREW COVER BOX | 110 | 181.23 | E | 53.48 | 84.31 | 1.7 | E | 9274.1 | 187
203 | 24"x24"x10" N1 SCREW COVER BOX | 40 | 367.22 | E | 53.48 | 170.83 | 2.1 | E | 6833.2 | 84
204 | 30"x30"x10" N1 SCREW COVER BOX | 1 | 565.4 | E | 53.48 | 263.02 | 3.5 | E | 263.02 | 3.5
205 | 1/2" FIELD CUT KO | 166 | 0 | E | 0 | 0 | 0.16 | E | 0 | 26.56
206 | 125 3PH IN/1PH OUT 3 METER STACK | 7 | 0 | E | 0 | 0 | 4 | E | 0 | 28
207 | 15A 1P CB TERMINATION | 1 | 0 | E | 0 | 0 | 0.17 | E | 0 | 0.17
208 | 20A 1P CB TERMINATION | 1163 | 0 | E | 0 | 0 | 0.17 | E | 0 | 197.71
209 | 15A 2P CB TERMINATION | 3 | 0 | E | 0 | 0 | 0.27 | E | 0 | 0.81
210 | 20A 2P CB TERMINATION | 10 | 0 | E | 0 | 0 | 0.27 | E | 0 | 2.7
211 | 40A 2P CB TERMINATION | 1 | 0 | E | 0 | 0 | 0.4 | E | 0 | 0.4
212 | 15A 3P CB TERMINATION | 7 | 0 | E | 0 | 0 | 0.35 | E | 0 | 2.45
213 | 20A 3P CB TERMINATION | 3 | 0 | E | 0 | 0 | 0.35 | E | 0 | 1.05
214 | 30A 3P CB TERMINATION | 1 | 0 | E | 0 | 0 | 0.45 | E | 0 | 0.45
215 | 40A 3P CB TERMINATION | 1 | 0 | E | 0 | 0 | 0.5 | E | 0 | 0.5
216 | 60A 3P CB TERMINATION | 3 | 0 | E | 0 | 0 | 0.6 | E | 0 | 1.8
217 | 100A 3P CB TERMINATION | 5 | 0 | E | 0 | 0 | 1 | E | 0 | 5
218 | 125A 3P CB TERMINATION | 2 | 0 | E | 0 | 0 | 1.25 | E | 0 | 2.5
219 | 150A 3P CB TERMINATION | 1 | 0 | E | 0 | 0 | 1.5 | E | 0 | 1.5
220 | 175A 3P CB TERMINATION | 1 | 0 | E | 0 | 0 | 1.75 | E | 0 | 1.75
221 | 200A 3P CB TERMINATION | 2 | 0 | E | 0 | 0 | 2 | E | 0 | 4
222 | 225A 3P CB TERMINATION | 17 | 0 | E | 0 | 0 | 2.25 | E | 0 | 38.25
223 | 400A 3P CB TERMINATION | 4 | 0 | E | 0 | 0 | 4 | E | 0 | 16
224 | 800A 3P CB TERMINATION | 1 | 0 | E | 0 | 0 | 8 | E | 0 | 8
225 | 60A 120/240V 3P BOLT-ON CB | 3 | 262.7 | E | 20 | 210.16 | 0.6 | E | 630.48 | 1.8
226 | 100A 120/240V 3P BOLT-ON CB | 1 | 378.88 | E | 20 | 303.1 | 1 | E | 303.1 | 1
227 | 100A 277/480V 3P BOLT-ON CB | 1 | 737.04 | E | 20 | 589.63 | 1 | E | 589.63 | 1
228 | 250A 600V 3P BOLT-ON CB | 8 | 3899.8 | E | 20 | 3119.84 | 2.5 | E | 24958.72 | 20
229 | 400A 600V 3P BOLT-ON CB | 1 | 3785.1 | E | 20 | 3028.08 | 4 | E | 3028.08 | 4
230 | 4"x4"x1" XFMR NEOPRENE PAD | 4 | 8 | E | 0 | 8 | 0 | E | 32 | 0
231 | 800A PLUG-IN FUSED SWITCH | 1 | 0 | E | 0 | 0 | 8 | E | 0 | 8
232 | CADWELD CABLE TO COLUMN | 1 | 18 | E | 0 | 18 | 0.5 | E | 18 | 0.5
233 | #10 THHN GREEN STRANDED | 35 | 465.7 | M | 65.22 | 161.99 | 7.5 | M | 5.67 | 0.26
234 | #8 THHN GREEN STRANDED | 55 | 746.34 | M | 65.03 | 260.99 | 9 | M | 14.35 | 0.5
235 | #6 THHN GREEN STRANDED | 555 | 1364.51 | M | 70.57 | 401.55 | 11 | M | 222.86 | 6.11
236 | #4 THHN GREEN STRANDED | 1400 | 1745 | M | 65.93 | 594.48 | 12 | M | 832.27 | 16.8
237 | #2 THHN GREEN STRANDED | 570 | 2707.18 | M | 65.93 | 922.28 | 14 | M | 525.7 | 7.98
238 | #1 THHN GREEN STRANDED | 55 | 3981.42 | M | 70.37 | 1179.77 | 16 | M | 64.89 | 0.88
239 | WIREWAY GRND. PR. | 5 | 1 | E | 0 | 1 | 0.05 | E | 5 | 0.25
240 | 30A 2P MOTOR SWITCH N1 | 55 | 5242.65 | C | 40 | 3145.59 | 0.6 | E | 1730.07 | 33
241 | 30A 3P 600V FUSIBLE DSN SW NEMA 1 | 1 | 434.4 | E | 63.35 | 159.2 | 0.9 | E | 159.2 | 0.9
242 | 30A/600V LIM R KTS FUSE | 1 | 48.06 | E | 40 | 28.84 | 0.04 | E | 28.84 | 0.04
243 | 800A/600V HRC L KRP-C FUS | 3 | 918.29 | E | 40 | 550.97 | 0.3 | E | 1652.91 | 0.9
244 | # 10 WIRE TERMINATION-POWER | 70 | 0 | E | 0 | 0 | 0.1 | E | 0 | 7
245 | # 8 WIRE TERMINATION-POWER | 4 | 0 | E | 0 | 0 | 0.12 | E | 0 | 0.48
246 | # 6 WIRE TERMINATION-POWER | 16 | 0 | E | 0 | 0 | 0.2 | E | 0 | 3.2
247 | # 4 WIRE TERMINATION-POWER | 70 | 0 | E | 0 | 0 | 0.22 | E | 0 | 15.4
248 | # 3 WIRE TERMINATION-POWER | 14 | 0 | E | 0 | 0 | 0.24 | E | 0 | 3.36
249 | # 2 WIRE TERMINATION-POWER | 6 | 0 | E | 0 | 0 | 0.27 | E | 0 | 1.62
250 | # 1 WIRE TERMINATION-POWER | 24 | 0 | E | 0 | 0 | 0.3 | E | 0 | 7.2
251 | # 1/0 WIRE TERMINATION-POWER | 26 | 0 | E | 0 | 0 | 0.33 | E | 0 | 8.58
252 | # 4/0 WIRE TERMINATION-POWER | 184 | 0 | E | 0 | 0 | 0.45 | E | 0 | 82.8
253 | # 500 MCM TERMINATION-POWER | 96 | 0 | E | 0 | 0 | 0.7 | E | 0 | 67.2
254 | 3/4" EMT CONDUIT | 20155 | 248.63 | C | 80.29 | 49 | 4.5 | C | 9875.95 | 906.98
255 | 1" EMT CONDUIT | 17005 | 414.23 | C | 78.76 | 88 | 5 | C | 14964.4 | 850.25
256 | 1 1/4" EMT CONDUIT | 4150 | 653.44 | C | 80.41 | 128 | 6 | C | 5312 | 249
257 | 1 1/2" EMT CONDUIT | 310 | 813.26 | C | 78.11 | 178 | 7 | C | 551.8 | 21.7
258 | 2" EMT CONDUIT | 9900 | 964.67 | C | 77.71 | 215 | 8 | C | 21285 | 792
259 | 2 1/2" EMT CONDUIT | 1560 | 1428.91 | C | 78.93 | 301 | 9 | C | 4695.6 | 140.4
260 | 3" EMT CONDUIT | 575 | 1789.06 | C | 75.07 | 446 | 10 | C | 2564.5 | 57.5
261 | 3 1/2" EMT CONDUIT | 775 | 2390.47 | C | 77.2 | 545 | 11 | C | 4223.75 | 85.25
262 | 4" EMT CONDUIT | 150 | 2448.95 | C | 76.68 | 571 | 12 | C | 856.5 | 18
263 | 1 1/4" EMT 90 DEG ELBOW | 138 | 786.89 | C | 52.34 | 375 | 30 | C | 517.5 | 41.4
264 | 1 1/2" EMT 90 DEG ELBOW | 19 | 915.12 | C | 58.26 | 382 | 40 | C | 72.58 | 7.6
265 | 2" EMT 90 DEG ELBOW | 294 | 1344.19 | C | 58.26 | 561 | 45 | C | 1649.34 | 132.3
266 | 2 1/2" EMT 90 DEG ELBOW | 62 | 2983.25 | C | 56.79 | 1289 | 50 | C | 799.18 | 31
267 | 3" EMT 90 DEG ELBOW | 15 | 4447.96 | C | 52.36 | 2119 | 60 | C | 317.85 | 9
268 | 3 1/2" EMT 90 DEG ELBOW | 24 | 5961.75 | C | 56.77 | 2577 | 70 | C | 618.48 | 16.8
269 | 4" EMT 90 DEG ELBOW | 6 | 7013.84 | C | 52.34 | 3343 | 80 | C | 200.58 | 4.8
270 | 2 1/2" EMT 45 DEG ELBOW | 13 | 2983.25 | C | 50.98 | 1462.34 | 50 | C | 190.1 | 6.5
271 | 3 1/2" EMT 45 DEG ELBOW | 3 | 5961.75 | C | 50.98 | 2922.26 | 70 | C | 87.67 | 2.1
272 | 1/2" EMT INS STL SS CONNECTORS | 24 | 58.08 | C | 80.66 | 11.23 | 6 | C | 2.7 | 1.44
273 | 3/4" EMT INS STL SS CONNECTORS | 1709 | 91.09 | C | 80.07 | 18.15 | 8 | C | 310.18 | 136.72
274 | 1" EMT INS STL SS CONNECTORS | 324 | 155.23 | C | 80.66 | 30.02 | 10 | C | 97.26 | 32.4
275 | 1 1/4" EMT INS STL SS CONNECTORS | 92 | 310.17 | C | 82.44 | 54.46 | 13 | C | 50.1 | 11.96
276 | 1 1/2" EMT INS STL SS CONNECTORS | 18 | 454.13 | C | 82.44 | 79.74 | 15 | C | 14.35 | 2.7
277 | 2" EMT INS STL SS CONNECTORS | 196 | 657.2 | C | 82.44 | 115.4 | 20 | C | 226.18 | 39.2
278 | 2 1/2" EMT INS STL SS CONNECTORS | 40 | 2877.98 | C | 83.22 | 482.82 | 25 | C | 193.13 | 10
279 | 3" EMT INS STL SS CONNECTORS | 10 | 3570.69 | C | 83.22 | 599.03 | 30 | C | 59.9 | 3
280 | 3 1/2" EMT INS STL SS CONNECTORS | 22 | 4796.57 | C | 83.22 | 804.69 | 35 | C | 177.03 | 7.7
281 | 3/4" EMT STL SS COUPLING | 2040 | 84.06 | C | 80.07 | 16.75 | 0 | C | 341.7 | 0
282 | 1" EMT STL SS COUPLING | 1708 | 135.7 | C | 80.66 | 26.25 | 0 | C | 448.35 | 0
283 | 1 1/4" EMT STL SS COUPLING | 554 | 298.38 | C | 82.44 | 52.39 | 0 | C | 290.24 | 0
284 | 1 1/2" EMT STL SS COUPLING | 46 | 437.5 | C | 82.44 | 76.82 | 0 | C | 35.34 | 0
285 | 2" EMT STL SS COUPLING | 1286 | 581.94 | C | 82.44 | 102.18 | 0 | C | 1314.03 | 0
286 | 2 1/2" EMT STL SS COUPLING | 152 | 1374.89 | C | 83.22 | 230.66 | 0 | C | 350.6 | 0
287 | 3" EMT STL SS COUPLING | 73 | 1551.79 | C | 83.22 | 260.33 | 0 | C | 190.04 | 0
288 | 3 1/2" EMT STL SS COUPLING | 104 | 1812.84 | C | 83.22 | 304.13 | 0 | C | 316.3 | 0
289 | 1 1/2" EMT INS STL COMP CONNECTOR | 2 | 686.61 | C | 80.75 | 132.15 | 15 | C | 2.64 | 0.3
290 | 2 1/2" EMT INS STL COMP CONNECTOR | 12 | 4170.12 | C | 82.15 | 744.52 | 25 | C | 89.34 | 3
291 | 4" EMT INS STL COMP CONNECTOR | 4 | 8142.72 | C | 82.15 | 1453.78 | 40 | C | 58.15 | 1.6
292 | 1 1/2" EMT STL COMP COUPLING | 5 | 566.69 | C | 80.75 | 109.07 | 0 | C | 5.45 | 0
293 | 2 1/2" EMT STL COMP COUPLING | 72 | 3140.31 | C | 82.15 | 560.66 | 0 | C | 403.68 | 0
294 | 4" EMT STL COMP COUPLING | 21 | 6325.02 | C | 82.15 | 1129.25 | 0 | C | 237.14 | 0
295 | 3 1/2" PLASTIC BUSHING - SLIP ON | 6 | 401.94 | C | 18.95 | 325.78 | 0 | E | 19.55 | 0
296 | 3/4" EMT 1-H STEEL STRAP | 1359 | 66.93 | C | 90.32 | 6.48 | 3.5 | C | 88.06 | 47.56
297 | 1" EMT 1-H STEEL STRAP | 113 | 113.21 | C | 92.04 | 9.01 | 3.5 | C | 10.18 | 3.96
298 | 3/4" EMT STRUT CLAMP | 1679 | 386.93 | C | 82.38 | 68.18 | 2.5 | C | 1144.74 | 41.98
299 | 1" EMT STRUT CLAMP | 2019 | 440.55 | C | 82.38 | 77.61 | 2.5 | C | 1566.95 | 50.48
300 | 1 1/4" EMT STRUT CLAMP | 521 | 494.95 | C | 82.37 | 87.26 | 4 | C | 454.62 | 20.84
301 | 1 1/2" EMT STRUT CLAMP | 39 | 607.11 | C | 82.38 | 107 | 4 | C | 41.73 | 1.56
302 | 2" EMT STRUT CLAMP | 1238 | 641.46 | C | 82.4 | 112.89 | 4 | C | 1397.58 | 49.52
303 | 2 1/2" EMT STRUT CLAMP | 199 | 705.99 | C | 81.65 | 129.53 | 5 | C | 257.76 | 9.95
304 | 3" EMT STRUT CLAMP | 72 | 772.69 | C | 81.65 | 141.76 | 5 | C | 102.07 | 3.6
305 | 3 1/2" EMT STRUT CLAMP | 98 | 935.88 | C | 81.65 | 171.72 | 6 | C | 168.29 | 5.88
306 | 4" EMT STRUT CLAMP | 19 | 981.14 | C | 81.65 | 180.03 | 6 | C | 34.21 | 1.14
307 | 1/2" STEEL LOCKNUT | 2 | 17.92 | C | 44.81 | 9.89 | 0 | C | 0.2 | 0
308 | 3 1/2" STEEL LOCKNUT | 5 | 1319.89 | C | 83.83 | 213.39 | 0 | C | 10.67 | 0
309 | 2 1/2" STEEL BONDING LOCKNUT | 11 | 1921 | C | 70.15 | 573.4 | 11 | C | 63.07 | 1.21
310 | 3/4" INS GROUND BUSHING | 2 | 1011.67 | C | 76.67 | 236 | 5 | C | 4.72 | 0.1
311 | 2 1/2" INS GROUND BUSHING | 11 | 3529.41 | C | 73.25 | 944 | 7 | C | 103.84 | 0.77
312 | 3 1/2" INS GROUND BUSHING | 5 | 5586.92 | C | 76.82 | 1295 | 8 | C | 64.75 | 0.4
313 | 1/2" CHASE NIPPLE | 2 | 133.86 | C | 16.67 | 111.55 | 4 | C | 2.23 | 0.08
314 | 2 1/2" CHASE NIPPLE | 11 | 2551.69 | C | 75.08 | 636 | 12 | C | 69.96 | 1.32
315 | 3 1/2" CHASE NIPPLE | 5 | 9454 | C | 79.35 | 1952 | 15 | C | 97.6 | 0.75
316 | 1/2" STEEL FLEX | 84 | 73.29 | C | 49.52 | 37 | 3.2 | C | 31.08 | 2.69
317 | 2" STEEL FLEX | 3 | 467.97 | C | 41.45 | 274 | 16 | C | 8.22 | 0.48
318 | 3" STEEL FLEX | 3 | 986.44 | C | 39.68 | 595 | 24 | C | 17.85 | 0.72
319 | 1/2" INS STL STR FLEX CONNECTOR | 28 | 664.07 | C | 60 | 265.63 | 9.6 | C | 74.38 | 2.69
320 | 2" INS STL STR FLEX CONNECTOR | 1 | 7737 | C | 60 | 3094.8 | 24 | C | 30.95 | 0.24
321 | 3" INS STL STR FLEX CONNECTOR | 1 | 16752 | C | 60 | 6700.8 | 40 | C | 67.01 | 0.4
322 | 1/2" INS STL 90 DEG FLEX CONNECTOR | 28 | 1454.51 | C | 60 | 581.8 | 11.52 | C | 162.9 | 3.23
323 | 2" INS STL 90 DEG FLEX CONNECTOR | 1 | 14385 | C | 60 | 5754 | 28.8 | C | 57.54 | 0.29
324 | 3" INS STL 90 DEG FLEX CONNECTOR | 1 | 36498 | C | 60 | 14599.2 | 48 | C | 145.99 | 0.48
325 | 3/4" LT FLEX | 312 | 417 | C | 65 | 145.95 | 4 | C | 455.36 | 12.48
326 | 3/4" LT INS STRAIGHT CONNECTOR | 104 | 904.1 | C | 69.58 | 275 | 17 | C | 286 | 17.68
327 | 3/4" LT INS 90 DEG CONNECTOR | 104 | 1461.02 | C | 67.42 | 476 | 17 | C | 495.04 | 17.68
328 | 1 5/8" SLOTTED GALVANIZED CHANNEL | 5152 | 629.04 | C | 80.99 | 119.6 | 8 | C | 6161.79 | 412.16
329 | 3H ADJUSTABLE HINGE | 148 | 695.87 | C | 23.91 | 529.48 | 0.2 | E | 783.63 | 29.6
330 | 3/8"x1-1/2" HEX HEAD SCREW | 32 | 156.14 | C | 50 | 78.07 | 0 | C | 24.98 | 0
331 | 1/2"x1-1/2" HEX HEAD SCREW | 978 | 243.51 | C | 50 | 121.76 | 0 | C | 1190.81 | 0
332 | 3/8" SPRING NUT | 32 | 285.67 | C | 74.47 | 72.92 | 0 | C | 23.33 | 0
333 | 1/2" SPRING NUT | 978 | 296.6 | C | 73.7 | 78.01 | 0 | C | 762.94 | 0
334 | THRD-ROD-1/2-13-10FT-PLTD | 1379 | 340.67 | C | 60 | 136.27 | 8 | C | 1879.16 | 110.32
335 | 1/2" PLATED ROD COUPLING | 677 | 692.09 | C | 60.09 | 276.18 | 0 | C | 1869.74 | 0
336 | #12 8' CEILING WIRE | 15502 | 50 | C | 0 | 50 | 0 | C | 7751 | 0
337 | WIRE HANGER HILTI SHOT | 14949 | 8.75 | C | 0 | 8.75 | 7 | C | 1308.04 | 1046.43
338 | KX KON CLIP | 55222 | 45.93 | C | 22 | 35.83 | 1.6 | C | 19786.04 | 883.55
339 | CABLE SUPPORT STUD CLIP CJ6 | 492 | 72.95 | C | 22 | 56.9 | 1.6 | C | 279.95 | 7.87
340 | 1/2" STEEL HEX NUT | 1354 | 23.6 | C | 23.01 | 18.17 | 0 | C | 246.02 | 0
341 | 3/8" FLAT STEEL WASHER | 32 | 8.1 | C | 30 | 5.67 | 0 | C | 1.81 | 0
342 | 1/2" FLAT STEEL WASHER | 1285 | 18.07 | C | 24.02 | 13.73 | 0 | C | 176.43 | 0
343 | 3/8" LOCK WASHER | 28 | 4.74 | C | 24.05 | 3.6 | 0 | C | 1.01 | 0
344 | 1/2" LOCK WASHER | 608 | 8.26 | C | 23 | 6.36 | 0 | C | 38.67 | 0
345 | 1/2"x1-1/2"OD FENDER WASHER | 652 | 13.38 | C | 16.97 | 11.11 | 0 | C | 72.44 | 0
346 | 3/16"x4" TOGGLE BOLT | 50 | 48.19 | C | 15 | 40.96 | 3 | C | 20.48 | 1.5
347 | 8x1/2" WAFER SCREW | 616 | 8.18 | C | 57.95 | 3.44 | 2 | C | 21.19 | 12.32
348 | #8x1/2" WAFER HEAD SCREW | 3036 | 8.18 | C | 57.95 | 3.44 | 2 | C | 104.44 | 60.72
349 | 10x1" HEX HEAD SCREW | 639 | 13.95 | C | 29.03 | 9.9 | 2 | C | 63.26 | 12.78
350 | 3/8"x3" KB-TZ CRACKED CONCRETE ANCHOR | 3686 | 40.12 | C | 0 | 40.12 | 8 | C | 1478.82 | 294.88
351 | 3/8"x3 3/4" KB-TZ CRACKED CONCRETE ANCHOR | 32 | 50.12 | C | 0 | 50.12 | 8 | C | 16.04 | 2.56
352 | 3/8"x5" KB-TZ CRACKED CONCRETE ANCHOR | 12 | 60.12 | C | 0 | 60.12 | 8 | C | 7.21 | 0.96
353 | 1/2"x3 3/4" KB-TZ CRACKED CONCRETE ANCHOR | 1452 | 78.75 | C | 0 | 78.75 | 8 | C | 1143.45 | 116.16
354 | 1/2"x4 1/2" KB-TZ CRACKED CONCRETE ANCHOR | 29 | 83.75 | C | 0 | 83.75 | 8 | C | 24.29 | 2.32
355 | 1/4"x1 3/4" KB3 WEDGE ANCHOR | 5188 | 46.04 | C | 89.63 | 4.78 | 4 | C | 247.99 | 207.52
356 | 1/4"x2 1/4" KB3 WEDGE ANCHOR | 3 | 22.46 | C | 0 | 22.46 | 4 | C | 0.67 | 0.12
357 | TY-525M TY-RAP ( 7") | 242 | 21.35 | C | 15 | 18.15 | 5 | C | 43.92 | 12.1
358 | #12 THHN/THWN STRANDED | 11151 | 281.32 | M | 59.12 | 115 | 6 | M | 1282.37 | 66.91
359 | #10 THHN/THWN STRANDED | 97551 | 430.22 | M | 59.32 | 175 | 7.5 | M | 17071.42 | 731.63
360 | #8 THHN/THWN STRANDED | 61613 | 689.48 | M | 59.24 | 281 | 9 | M | 17313.25 | 554.52
361 | #6 THHN/THWN STRANDED | 297147 | 1178.67 | M | 63.35 | 432 | 11 | M | 128367.5 | 3268.62
362 | #4 THHN/THWN STRANDED | 307 | 1745 | M | 63.32 | 640 | 12 | M | 196.48 | 3.68
363 | #3 THHN/THWN STRANDED | 230 | 2162.78 | M | 63.29 | 794 | 13 | M | 182.62 | 2.99
364 | #2 THHN/THWN STRANDED | 5 | 2930.42 | M | 66.11 | 993 | 14 | M | 4.96 | 0.07
365 | #1 THHN/THWN STRANDED | 600 | 4009.02 | M | 68.3 | 1271 | 16 | M | 762.6 | 9.6
366 | #1/0 THHN/THWN STRANDED | 2045 | 4509.96 | M | 66.1 | 1529 | 18 | M | 3126.8 | 36.81
367 | #2/0 THHN/THWN STRANDED | 15 | 6004.6 | M | 68.09 | 1916 | 20 | M | 28.74 | 0.3
368 | #4/0 THHN/THWN STRANDED | 5982 | 8227.6 | M | 63.31 | 3019 | 24 | M | 18059.66 | 143.57
369 | #500 THHN/THWN STRANDED | 3940 | 19392.7 | M | 63.31 | 7115 | 31 | M | 28033.1 | 122.14
370 | #12/2C SOLID CU HCFC CABLE STL ARMOR | 40736 | 1417.32 | M | 55.95 | 624.29 | 24 | M | 25431.08 | 977.66
371 | #10/2C SOLID CU HCFC CABLE STL ARMOR | 15890 | 2334.01 | M | 55.95 | 1028.08 | 26 | M | 16336.19 | 413.14
372 | #12/3C SOLID CU HCFC CABLE STL ARMOR | 1038 | 2079.22 | M | 55.95 | 915.85 | 25 | M | 950.65 | 25.95
373 | #10/3C SOLID CU HCFC CABLE STL ARMOR | 555 | 3608.49 | M | 55.95 | 1589.45 | 28 | M | 882.14 | 15.54
374 | #12/4C SOLID CU HCFC CABLE STL ARMOR | 141 | 3253.96 | M | 55.95 | 1433.29 | 27 | M | 202.09 | 3.81
375 | 1/2" MC CONNECTOR | 2772 | 180.47 | C | 79.5 | 37 | 2 | C | 1025.64 | 55.44
376 | #24/4PAIR CAT 5 CABLE | 7980 | 0 | M | 0 | 0 | 8 | M | 0 | 63.84
377 | #24/4PAIR CAT 6 CABLE | 175 | 144 | M | 0 | 144 | 8 | M | 25.2 | 1.4
378 | 75-112.5KVA TRANSFORMER LUG KIT | 1 | 88.34 | E | 40 | 53 | 0 | C | 53 | 0
379 | 1-H 1/4" CRIMP LUG CU/AL #6 GRY | 1 | 1212.64 | C | 20 | 970.11 | 13 | C | 9.7 | 0.13
380 | 1-H 3/8" CRIMP LUG CU/AL #2 PNK | 1 | 1527.58 | C | 20 | 1222.06 | 17 | C | 12.22 | 0.17
381 | 1-H 3/8" CRIMP CU/AL #2/0 OLIVE | 3 | 2737.31 | C | 20 | 2189.85 | 26 | C | 65.7 | 0.78
382 | 1-H 5/8" CRIMP CU/AL #500 PINK | 4 | 10936 | C | 20 | 8748.8 | 48 | C | 349.95 | 1.92
383 | #1 HYPRESS 2-HOLE LUG | 1 | 1153 | C | 0 | 1153 | 52 | C | 11.53 | 0.52
384 | B2-1 RED WIRE CONN | 20098 | 19.36 | C | 10 | 17.42 | 0 | E | 3501.07 | 0
385 | POLYTWINE | 25688 | 10.93 | M | 10 | 9.84 | 3 | M | 252.77 | 77.06
386 | 18" AL LADDER CABLE TRAY | 100 | 0 | E | 0 | 0 | 10 | C | 0 | 10
387 | 18" AL LADDER HORIZONTAL 90 ELBOW | 6 | 0 | E | 0 | 0 | 0.9 | E | 0 | 5.4
388 | 18" AL LADDER HORIZONTAL 45 ELBOW | 4 | 0 | E | 0 | 0 | 0.9 | E | 0 | 3.6
389 | 12"Wx2"D STAINLESS STEEL 316L BASKET TRAY | 1650 | 0 | C | 0 | 0 | 10 | C | 0 | 165
390 | 10"x3.5" WALL DUCT RECESSED 5' | 12 | 0 | E | 0 | 0 | 1.85 | E | 0 | 22.2
391 | 10"x3.5" WALL DUCT RECESSED EDGE 90 | 1 | 0 | E | 0 | 0 | 1.4 | E | 0 | 1.4
392 | 10"x3.5" WALL DUCT RECESSED COUPLING | 6 | 0 | E | 0 | 0 | 0.2 | E | 0 | 1.2
393 | 10"x3.5" WALL DUCT RECESSED END CAP | 6 | 0 | E | 0 | 0 | 0.2 | E | 0 | 1.2
394 | 18"x3.5" WALL DUCT RECESSED 5' | 6 | 0 | E | 0 | 0 | 2.2 | E | 0 | 13.2
395 | 18"x3.5" WALL DUCT RECESSED COUPLING | 3 | 0 | E | 0 | 0 | 0.2 | E | 0 | 0.6
396 | 18"x3.5" WALL DUCT RECESSED END CAP | 3 | 0 | E | 0 | 0 | 0.2 | E | 0 | 0.6
397 | 6"x3.5" WALL DUCT SURFACE 5' | 6 | 0 | E | 0 | 0 | 1.35 | E | 0 | 8.1
398 | 6"x3.5" WALL DUCT SURFACE HORIZONTAL 90 | 1 | 0 | E | 0 | 0 | 0.85 | E | 0 | 0.85
399 | 6"x3.5" WALL DUCT SURFACE END CAP | 2 | 0 | E | 0 | 0 | 0.2 | E | 0 | 0.4
400 | 10"x3.5" WALL DUCT SURFACE 5' | 3 | 0 | E | 0 | 0 | 1.8 | E | 0 | 5.4
401 | 10"x3.5" WALL DUCT SURFACE COUPLING | 1 | 0 | E | 0 | 0 | 0.2 | E | 0 | 0.2
402 | 10"x3.5" WALL DUCT SURFACE END CAP | 1 | 0 | E | 0 | 0 | 0.2 | E | 0 | 0.2
403 | 18"x3.5" WALL DUCT SURFACE 5' | 10 | 0 | E | 0 | 0 | 2.35 | E | 0 | 23.5
404 | 18"x3.5" WALL DUCT SURFACE HORIZONTAL 90 | 8 | 0 | E | 0 | 0 | 1.4 | E | 0 | 11.2
405 | 18"x3.5" WALL DUCT SURF CABINET CONN | 2 | 0 | E | 0 | 0 | 1.4 | E | 0 | 2.8
406 | 18"x3.5" WALL DUCT SURFACE COUPLING | 10 | 0 | E | 0 | 0 | 0.2 | E | 0 | 2
407 | 18"x3.5" WALL DUCT SURFACE END CAP | 2 | 0 | E | 0 | 0 | 0.2 | E | 0 | 0.4
408 | 18" TRENCH DUCT | 20 | 0 | E | 0 | 0 | 54 | C | 0 | 10.8
409 | 18" DUCT RISER | 2 | 0 | E | 0 | 0 | 4 | E | 0 | 8
410 | 18" TRENCH DUCT COVER PLATE | 2 | 0 | E | 0 | 0 | 5 | C | 0 | 0.1
411 | 3000 RACEWAY DUPLEX RECEPTACLE CVR | 9 | 8.15 | E | 15 | 6.93 | 15 | C | 62.37 | 1.35
412 | 4000 RACEWAY BASE | 54 | 4.69 | E | 15 | 3.99 | 10 | C | 215.46 | 5.4
413 | 4000 RACEWAY COVER | 54 | 2.7 | E | 15 | 2.3 | 2 | C | 124.2 | 1.08
414 | 4000 RACEWAY BLANK END | 10 | 6.65 | E | 15 | 5.65 | 10 | C | 56.5 | 1
415 | 4000 RACEWAY ENTRANCE END FITTING | 5 | 25.13 | E | 15 | 21.36 | 30 | C | 106.8 | 1.5
416 | 4000 RACEWAY DUPLEX COVER | 30 | 8 | E | 15 | 6.8 | 5 | C | 204 | 1.5
417 | 2" CORE 6" FLOOR | 6 | 48 | E | 0 | 48 | 0.25 | E | 288 | 1.5
418 | 3" CORE 6" FLOOR | 31 | 48 | E | 0 | 48 | 0.25 | E | 1488 | 7.75
419 | 4" CORE 6" FLOOR | 8 | 60 | E | 0 | 60 | 0.25 | E | 480 | 2
420 | FIRESEAL PENETRATION | 24 | 9 | E | 0 | 9 | 0.35 | E | 216 | 8.4
421 | X-RAY TESTING | 24 | 100 | E | 0 | 100 | 0.25 | E | 2400 | 6
422 | DEMO 2'x4' RCSD FIXTURE | 2 | 11 | E | 0 | 11 | 1 | E | 22 | 2
423 | DEMO RCSD DOWN LITE | 4 | 11 | E | 0 | 11 | 1 | E | 44 | 4
424 | DEMO 1'x4' SURFACE FIXTURE | 94 | 11 | E | 0 | 11 | 1 | E | 1034 | 94
425 | DEMO EXIT FIXTURE | 25 | 11 | E | 0 | 11 | 1 | E | 275 | 25
426 | DEMO RECEPTACLE | 6 | 11 | E | 0 | 11 | 1 | E | 66 | 6
427 | WIREWAY CLEAN - FAB | 54 | 11 | E | 0 | 11 | 1 | C | 594 | 0.54
428 | JUNCTION BOX LABEL | 3 | 1.5 | E | 0 | 1.5 | 0.02 | E | 4.5 | 0.06
429 | WM THROUGH 10"x10" SUPPORT | 10 | 0.5 | E | 0 | 0.5 | 0.2 | E | 5 | 2
430 | WALL DIMMIING SENSOR | 379 | 0 | E | 0 | 0 | 0.35 | E | 0 | 132.65
431 | OPEN/CLOSE (E) PANEL | 30 | 0 | E | 0 | 0 | 0.5 | E | 0 | 15
432 | DAYLIGHT SENSOR PHOTOCELL | 31 | 27.36 | E | 68.21 | 8.7 | 0.65 | E | 269.7 | 20.15
433 | LMPL-101 ROOM CONTROLLER | 150 | 0 | E | 0 | 0 | 0.5 | E | 0 | 75
434 | LMRC-111 ROOM CONTROLLER | 183 | 0 | E | 0 | 0 | 0.5 | E | 0 | 91.5
435 | #24/4PAIR CAT 5 CABLE 5 ft JUMPER | 1018 | 8.45 | E | 0 | 8.45 | 0.08 | E | 8602.1 | 81.44
436 | #24/4PAIR CAT 5 CABLE 15 ft. JUMPER | 273 | 12.35 | E | 0 | 12.35 | 0.12 | E | 3371.55 | 32.76
437 | #24/4PAIR CAT 5 CABLE 20 ft JUMPER | 675 | 19.3 | E | 0 | 19.3 | 0.15 | E | 13027.5 | 101.25
438 | LMRC-112 ROOM CONTROLLER | 475 | 0 | E | 0 | 0 | 0.5 | E | 0 | 237.5
439 | LMBC-300 NETWORK BRIDGE | 899 | 0 | E | 0 | 0 | 0.5 | E | 0 | 449.5
440 | ELCU-200 EMERG LTG CONTROL | 145 | 76.58 | E | 0 | 76.58 | 0.65 | E | 11104.1 | 94.25
441 | LMSM SEGMENT MANAGER | 21 | 0 | E | 0 | 0 | 1.5 | E | 0 | 31.5
442 | 3W MSTP CABLE 20ft JUMPER | 522 | 11 | E | 0 | 11 | 0.33 | E | 5742 | 172.26
443 | 3W MSTP CABLE 30ft JUMPER | 77 | 16.5 | E | 0 | 16.5 | 0.41 | E | 1270.5 | 31.57
444 | 3W MSTP CABLE 50ft JUMPER | 33 | 27.5 | E | 0 | 27.5 | 0.62 | E | 907.5 | 20.46
445 | 3W MSTP CABLE 75ft JUMPER | 16 | 41.25 | E | 0 | 41.25 | 0.87 | E | 660 | 13.92
446 | 3W MSTP CABLE 85ft JUMPER | 7 | 46.75 | E | 0 | 46.75 | 0.97 | E | 327.25 | 6.79
447 | 3W MSTP CABLE 100ft JUMPER | 5 | 55 | E | 0 | 55 | 1.13 | E | 275 | 5.65
448 | LMRC-211 ROOM CONTROLLER | 1 | 0 | E | 0 | 0 | 0.5 | E | 0 | 0.5
449 | LMRC-212 ROOM CONTROLLER | 6 | 0 | E | 0 | 0 | 0.5 | E | 0 | 3
450 | LMRC-213 ROOM CONTROLLER | 10 | 0 | E | 0 | 0 | 0.5 | E | 0 | 5
451 | DAYLIGHT SENSOR PHOTOCELL WALL MOUNT | 6 | 27.36 | E | 68.21 | 8.7 | 0.65 | E | 52.2 | 3.9
452 | 3W MSTP CABLE 125ft JUMPER | 2 | 68.75 | E | 0 | 68.75 | 1.39 | E | 137.5 | 2.78
453 | GROMMET MATERIAL | 30 | 0 | E | 0 | 0 | 0.5 | E | 0 | 15
454 | 10"x3.5" FLOOR DUCT RECESSED 5' | 3 | 0 | E | 0 | 0 | 1.85 | E | 0 | 5.55
455 | 10"x3.5" FLOOR DUCT RECESSED COUPLING | 2 | 0 | E | 0 | 0 | 0.2 | E | 0 | 0.4
456 | REX - REQUEST TO EXIT | 58 | 0 | E | 0 | 0 | 0 | E | 0 | 0
457 | DOOR CONTACT | 65 | 0 | E | 0 | 0 | 0 | E | 0 | 0
458 | CARD READER | 58 | 0 | E | 0 | 0 | 0 | E | 0 | 0
459 | ELECTRIC STRIKE | 65 | 0 | E | 0 | 0 | 0 | E | 0 | 0
460 | POWER SUPPLY | 58 | 0 | E | 0 | 0 | 0 | E | 0 | 0
461 | OPEN/CLOSE (E) MSB | 1 | 0 | E | 0 | 0 | 1 | E | 0 | 1
462 | SHUT DOWN (E) MSB | 1 | 0 | E | 0 | 0 | 8 | E | 0 | 8
463 | DEMO WIRE @LIGHT FIXTURE | 125 | 0 | E | 0 | 0 | 1 | E | 0 | 125
464 | ZONE BOX MOUNTING PLATE | 94 | 30 | C | 0 | 30 | 0.25 | C | 28.2 | 0.23
465 | MODULAR OVERHEAD ZONE BOX | 94 | 0 | C | 0 | 0 | 3 | E | 0 | 282
466 | MODULAR SPLITTER/JUNCTION BOX | 4165 | 0 | C | 0 | 0 | 1 | E | 0 | 4165
467 | MODULAR EXTENDER CABLE | 15474 | 0 | M | 0 | 0 | 0.5 | E | 0 | 7737
468 | MODULAR CONTROLLED J-BOX | 256 | 0 | M | 0 | 0 | 1 | E | 0 | 256
469 | MODULAR DEVICE WHIP CONNECTION | 3509 | 0 | M | 0 | 0 | 0.1 | E | 0 | 350.9
470 | MODULAR DEVICE TRIM PLATES | 3509 | 0 | M | 0 | 0 | 0.1 | E | 0 | 350.9
471 | MODULAR DEVICE TESTING | 3509 | 0 | M | 0 | 0 | 0.1 | E | 0 | 350.9
| Totals | 888272 | [6 empty] | 585217.12 | 34881.71

## DirLb
| Labor Type | Crew | Hours | Rate $ | SubTotal | Frng $ | Total
1 | FOREMAN | 1 | 4983.1 | 120.04 | 598171.32 |  | 598171.32
2 | JOURNEYMAN | 4 | 19932.39 | 110.45 | 2201532.48 |  | 2201532.48
3 | APPRENTICE - 80% | 2 | 9966.2 | 91.8 | 914897.16 |  | 914897.16
4
| Totals | 7 | 34881.69 | 322.29 | 3714600.96 | 0 | 3714600.96

## IndLb
| Indirect Labor | Lab % | Hours | Rate $ | SubTotal | Frng $ | Frng Tot. | Total | Full Rate
1 | SUPERINTENDENT |  | 420 | 160 | 67200 |  |  | 67200 | 160
2 | GENERAL FOREMAN |  | 2860 | 128.86 | 368539.6 |  |  | 368539.6 | 128.86
3 | MATERIAL HANDLER |  | 1040 | 81.85 | 85124 |  |  | 85124 | 81.85
4 | CUTOVER OT |  | 125 | 225 | 28125 |  |  | 28125 | 225
5 | FA OT |  | 75 | 225 | 16875 |  |  | 16875 | 225
6 | OT MATERIAL STOCKING |  | 200 | 160 | 32000 |  |  | 32000 | 160
7 | QA/QC FIELD LABOR |  | 490 | 110 | 53900 |  |  | 53900 | 110
8 | FULL TIME SAFETY AFTER 25 MEN |  | 1000 | 67.3 | 67300 |  |  | 67300 | 67.3
9 | PULL PLANNING @ 4 HRS/WEEK |  | 200 | 106.3 | 21260 |  |  | 21260 | 106.3
10 | COMMISSIONING |  | 250 | 106.3 | 26575 |  |  | 26575 | 106.3
11
12
13
14
15
| Totals |  | 6660 |  | 766898.6 | 0 | 0 | 766898.6 | 1370.61

## Subs
| Subcontractors | Alarm | Cost | Overhead % | Markup % | Total | Vendor | Notes
1 | FIRE ALARM (ENGINEERING) | Off | 185700 |  |  | 185700 | CLARKSTONE ELECTRONIC SYSTEMS INC.
2 | FIRE ALARM (INSTALL) | Off | 714420 |  |  | 714420 | CLARKSTONE ELECTRONIC SYSTEMS INC.
3 | NURSE CALL SYSTEM | Off | 537227 |  |  | 537227 | MILLETT SYSTEMS TECHNOLOGY
4 | ACCESS CONTROL & CCTV SYSTEM | Off | 568511 |  |  | 568511 | MILLETT SYSTEMS TECHNOLOGY
5 | SYSTEMS ENGINEERING SERVICES | Off | 189734 |  |  | 189734 | MILLETT SYSTEMS TECHNOLOGY
6 | FIRESTOPPING | Off | 10000 |  |  | 10000 | BUDGET
7 | SCANNING & CORING | Off | 12000 |  |  | 12000 | BUDGET
8 | 3RD PARTY TESTING | Off | 50000 |  |  | 50000 | BUDGET
9
10
| Totals |  | 2267592 | 0 | 0 | 2267592 | 0 | 0

## GenExp
| General Expenses | Alarm | Quantity | Field | Duration | Cost/Unit | Total Cost | Total | Notes
1 | PROJECT MANAGER | Off | 1 | <None> | 14 | 18000 | 252000 | 252000
2 | ASSISTANT PROJECT MANAGER | Off | 1 | <None> | 8 | 10000 | 80000 | 80000
3 | ADMINISTRATIVE ASSISTANT | Off | 1 | <None> | 4 | 6000 | 24000 | 24000
4 | SAFETY STAFF | Off | 1 | <None> | 416 | 80 | 33280 | 33280
5 | PURCHASING AGENT | Off | 1 | <None> | 416 | 80 | 33280 | 33280
6 | PERMITS | Off | 7 | <None> |  | 3000 | 21000 | 21000
7 | SMALL TOOLS/TRUCK | Off | 41541.69 | Total Hours |  | 5 | 207708.45 | 207708.45
8 | SAFETY RECOGNITION | Off | 34881.69 | DirLb Hours |  | 0.05 | 1744.08 | 1744.08
9 | CONSUMABLES | Off | 34881.69 | DirLb Hours |  | 2 | 69763.38 | 69763.38
10 | BIM | Off | 1 | <None> |  | 125000 | 125000 | 125000
11 | TEMPORARY POWER/LIGHTING | Off | 1 | <None> |  | 200000 | 200000 | 200000
12 | IPADS/COMPUTERS/PHONES | Off | 1 | <None> |  | 30000 | 30000 | 30000
13 | DRUG TESTING | Off | 1 | <None> |  | 17000 | 17000 | 17000
14
15
| Totals |  | 111321.07 | 0 | 858 | 409167.05 | 1094775.91 | 1094775.91 | 0

## QtMat
| Quoted Materials | Alarm | Cost | Vendor | Notes
1 | LIGHTING FIXTURES | Off | 618561.45 | GRAYBAR
2 | LIGHTING CONTROL | Off | 339444.85 | GEXPRO
3 | SWITCHGEAR/DISTRIBUTION | Off | 148099.89
4
5
| Totals |  | 1106106.19 | 0 | 0

## FnPrc
Final Pricing | Calculated (%) | Calculated ($) | Variance (%) | Alarm | Modified (%) | Modified ($)
Database Material (Extension) |  | 534036.6 |  |  |  | 534036.6
Material Escalation
Quoted Material (Extension) |  | 51180.62 |  |  |  | 51180.62
Quoted Material |  | 1106106.19 |  |  |  | 1106106.19
Material Tax | 8.5 | 143762.49 |  |  | 8.5 | 143762.49
Material Total |  | 1835085.9 |  |  |  | 1835085.9
Direct Labor |  | 3714600.96 |  |  |  | 3714600.96
Incidental Labor
Labor Factoring
Labor Escalation
Indirect Labor |  | 766898.6 |  |  |  | 766898.6
Labor Tax
Labor Total |  | 4481499.56 |  |  |  | 4481499.56
Subcontractors |  | 2267592 |  |  |  | 2267592
General Expenses |  | 1094775.91 |  |  |  | 1094775.91
Equipment |  | 64000 |  |  |  | 64000
Total Cost |  | 9742953.37 |  |  |  | 9742953.37
Database Material Overhead
Quoted Material Overhead
Labor Overhead
Subcontractors Overhead
General Expenses Overhead
Equipment Overhead
Adjustment Overhead | 10 | 974295.34 |  |  | 10 | 974295.34
Total Overhead | 10 | 974295.34 |  |  | 10 | 974295.34
Database Material Markup
Quoted Material Markup
Labor Markup
Subcontractors Markup
General Expenses Markup
Equipment Markup
Adjustment Markup | 5 | 535862.44 |  |  | 5 | 535862.44
Total Markup | 5 | 535862.44 |  |  | 5 | 535862.44
Performance Bond | 0.8 | 90024.89 |  |  | 0.8 | 90024.89
Adjustment #2
Adjustment #3
Final Adjustment |  |  |  |  | 9.533 | 1081335.96
Selling Price |  | 11343136.04 | 9.53 | Pinned |  | 12424472
GST #