## Example
22 |  | PROPOSAL SUMMARY |  |  |  | FIRE PROTECTION
PROJECT: | UC Irvine Bren Hall
| Irvine, CA | SCOPE |  | Oceanside |  | Transbay |  | Hondo
|  | DESIRED |  | 510-544-5516 |  | 925-445-2431 |  | 619-338-0987
SEC. | DESCRIPTION |  |  | Steve |  | Tyler |  | Rebecca
| BASE BID |  |  | 844000 |  | 873000 |  | 910000
| Bondable / rate | Yes |  | Y / 1% |  | Y / 1.25% |  | Y / 1.75%
| Bond included | No - GS | N | ok | N | ok | Y | -16000
| Parking | Yes |  | Y |  | Y |  | Y
| Sales Tax @ 7.75% | Yes |  | Y |  | Y |  | Y
15500 | Automatic Sprinkler System | Yes |  | Y |  | Y |  | Y
| Heads under obstructions | Yes |  | Y |  | Y |  | Y
| Seismic per plans & specifications | Yes |  | Y |  | Y |  | Y
| Coordinate with other trades | Yes |  | Y |  | Y |  | Y
| Inserts & supports as required | Yes |  | Y |  | Y |  | Y
| Furnish pipe sleeves at new conc. | Yes |  | Y |  | Y |  | Y
| Coring as required | Yes |  | Y |  | Y |  | Y
| Underground piping to 5' outside | Y - 6 risers | N | 41000 |  | Y |  | Y
| Wet standpipe system | Yes |  | Yes | N | 10000 |  | Y
| Demo UG sprinkler piping | No - demo | N | ok | Y | -5000 | N | ok
| Pipe identification labels | Yes |  | Yes |  | Yes |  | Yes
| Painting of pipe | No - paint | N | ok | N | ok | N | ok
| Firestopping at penetrations | Yes |  | Y |  | Y |  | Y
|  |  |  | 885000 |  | 878000 |  | 894000

## Steel
7 |  | PROPOSAL SUMMARY |  | STEEL
PROJECT: | UC Irvine Bren Hall
| Irvine, CA | SCOPE
DESIRED
SEC. | DESCRIPTION
| BASE BID | -----
| Bondable / rate | Yes
| Bond included | No - GS
| Parking | Yes
| Sales Tax @ 7.75% | Yes
05120 | Structural Steel | Yes
05300 | Metal Deck | Yes
05500 | Metal Fabrications | Yes
05510 | Metal Stairs (stairs #1,#2,#3) | Yes
05515 | Ladders | Yes
| Hoisting | Yes
| Gas powered welders | Yes
| Perimeter safety cables | Yes
| Stair Engineering (stairs #1,#2,#3) | Yes
| Toilet partition support beams | Yes
| Elevator guide rail supports & hoist beams | Yes
| Elevator sill angle | No - Elev.
| Elevator pit ladders & separator screens | Yes
| Survey of anchor bolts before erection | Yes
| Certified welders | Yes
| ------- | ------- | ------- | -------

## Drywall & Plaster
16 |  | PROPOSAL SUMMARY |  | DRYWALL & PLASTER
PROJECT: | UC Irvine Bren Hall
| Irvine, CA | SCOPE
DESIRED
SEC. | DESCRIPTION
| BASE BID | -----
| Bondable / rate | Yes
| Bond included | No - GS
| Parking | Yes
| Sales Tax @ 7.75% | Yes
05400 | Cold Formed Metal Framing | Yes
07262 | Sheathing Paper | Yes
07812 | Cementitious Fireproofing | Yes
09110 | Non-Load Bearing Wall Framing Systems | Yes
09120 | Ceiling Suspension Systems | Yes
09207 | Metal Lath and Accessories | Yes
09220 | Portland Cement Plaster | Yes
09250 | Gypsum Board | Yes
09252 | Gypsum Sheathing | Yes
09264 | Shaft Wall Assemblies | Yes
| All Level 4 Finishes | Yes
| Furnish of HM frames | No - Doors
| Installation of HM door frames | Yes
| Firecaulking/Safing @ head of wall | Yes
| Firecaulking @ MEP penetrations | No - MEP's
| Acoustical Sealants | Yes
| Install Access Panels | No - HPCC
2/A527 | Gyp beam cant in elevator hoistways | Yes
| Backing | Yes
| Engineering | Yes
| Type I Fire Rated Building per UBC | Yes
| 80 hour fireproofing patching allowance | Yes
| Scaffolding | Yes
| ------- | ------- | ------- | ------- | -------

## Acoustical
18 |  | PROPOSAL SUMMARY |  | ACOUSTICAL
PROJECT: | UC Irvine Bren Hall
| Irvine, CA | SCOPE
DESIRED
SEC. | DESCRIPTION
| BASE BID | -----
| Bondable / rate | Yes
| Bond included | No - GS
| Parking | Yes
| Sales Tax @ 7.75% | Yes
09840 | Acoustical Wall Panels | Yes
A-701 | Room 130 | Yes
A-702 | Room 125 & 127 | Yes
A-703 | Room 115 & 116 | Yes
| 1/2" thick panels | Yes
| Guilford FR-701 fabric | Yes
| Attic stock | Yes
| Installation clips & accessories | Yes
| Mock-up | Yes
| Scaffolding | Yes
| ------- | ------- | ------- | ------- | -------

## Building Specialties
21 |  | PROPOSAL SUMMARY |  | BUILDING SPECIALTIES
PROJECT: | UC Irvine Bren Hall
| Irvine, CA | SUB- | MATERIAL | EQ/SUB | LABOR | TOTAL
TAB
SEC. | DESCRIPTION
08310 | Access Doors and Frames | BS-2 | 3000 | 0 | 5000 | 8000
08331 | Coiling Counter Doors | BS-3 | 0 | 14000 | 0 | 14000
10170 | Toilet Compartments (w/ 10800 Below) | ------- | 0 | 0 | 0 | 0
10210 | Metal Wall Louvers | BS-5 | 0 | 143000 | 0 | 143000
10430 | Exterior Signs | BS-6 | 0 | 8000 | 0 | 8000
10440 | Interior Signs | BS-7 | 0 | 32000 | 0 | 32000
10522 | Fire Extinguishers and Cabinets | BS-8 | 14000 | 0 | 6000 | 20000
10605 | Wire Mesh Partitions | BS-9 | 0 | 16000 | 0 | 16000
10800 | Toilet Accessories | BS-10 | 0 |  | 0 | 0
11027 | Lock Boxes | BS-11 | 0 | 4000 | 0 | 4000
11132 | Projection Screens | BS-12 | 0 |  | 0 | 0
12484 | Floor Mats and Frames | BS-13 | 0 | 6000 | 0 | 6000
12492 | Vertical Louver Blinds | BS-14 | 0 | 21000 | 0 | 21000
12495 | Window Shades | BS-15 | 0 | 345000 | 0 | 345000
12610 | Fixed Audience Seating | BS-16 | 0 |  | 0 | 0
| ------- | ------- | ------- | ------- | ------- | -------
|  |  | 17000 |  | 11000

## Toilet Access.
BS-10 |  | PROPOSAL SUMMARY |  | TOILET ACCESSORIES & COMPARTMENTS
PROJECT: | UC Irvine Bren Hall
| Irvine, CA | SCOPE
DESIRED
SEC. | DESCRIPTION
| BASE BID | -----
| Bondable / rate | Yes
| Bond included | No - GS
| Parking | Yes
| Sales Tax @ 7.75% | Yes
10170 | Furnish & Install Toilet Compartments | Yes
| Ceiling hung compartments | Yes
| Ceiling beams | No-Msc. Mtl
10800 | Furnish & Install Toilet Accessories | Yes
| Stainless steel finish | Yes
| Tamper proof hardware | Yes
| ------- | ------- | ------- | ------- | -------

## Projection Screens
BS-12 |  | PROPOSAL SUMMARY |  | PROJECTION SCREENS
PROJECT: | UC Irvine Bren Hall
| Irvine, CA | SCOPE
DESIRED
SEC. | DESCRIPTION
| BASE BID | -----
| Bondable / rate | Yes
| Bond included | No - GS
| Parking | Yes
| Sales Tax @ 7.75% | Yes
11132 | Projection Screens | Yes
| Electric Projection Screen 6' x 8' = 1 ea. | Yes
| Electric Projection Screen 8' x 8' = 10 ea. | Yes
| Electric Projection Screen 10' x 10' = 2 ea. | Yes
| Electric Projection Screen 16' x 10' = 1 ea. | Yes
| Electric Projection Screen 21.3' x 12' = 1 ea. | Yes
| Manuel Projection Screen 8' x 8" = 4 ea. | Yes
| Manuel Projection Screen 12' x 5" = 2 ea. | Yes
| Rear Projection Screen w/ Frame | No - NIC
| Installation | Yes
| Freight | Yes
| ------- | ------- | ------- | ------- | -------

## Audience Seating
BS-16 |  | PROPOSAL SUMMARY |  | FIXED AUDIENCE SEATING
PROJECT: | UC Irvine Bren Hall
| Irvine, CA | SCOPE
DESIRED
SEC. | DESCRIPTION
| BASE BID | -----
| Bondable / rate | Yes
| Bond included | No - GS
| Parking | Yes
| Sales Tax @ 7.75% | Yes
12610 | Fixed Audience Seating | Yes
| Room 115 (class room) | Yes
| Room 130 (lecture hall) | Yes
| Room 125 & 127 (seminar room) | Yes
| Per plans & specifications | Yes
11/A525 | ADA compliance | Yes
| Stair warning strips | No-Carpet
| Bronze aisle and number plates | Yes
| Power/data provisions | No
| Freight | Yes
| ------- | ------- | ------- | ------- | -------

## Elevator
23 |  | PROPOSAL SUMMARY |  | ELEVATOR
PROJECT: | UC Irvine Bren Hall
| Irvine, CA | SCOPE
DESIRED
SEC. | DESCRIPTION
| BASE BID | -----
| Bondable / rate | Yes
| Bond included | No - GS
| Parking | Yes
| Sales Tax @ 7.75% | Yes
14210 | Electric Traction Elevators | Yes
| Elevators #1 & #2 | Yes
| 6 stops / 6 openings / 2500 lbs | Yes
| Elevator sill support angles | Yes
2/A527 | Beam cant in elevator hoistways | No - Drywall
| Elevator cab flooring | No - Flooring
| Elevator guide rail supports & hoist beams | No - Steel
| 12 month maintenance period | Yes
| ------- | ------- | ------- | ------- | ------- | -------