## 05d - ORN RAILS
Bid Pkg - ORNAMENTAL RAILS
PROJECT: | SCRM |  | GMP Budget |  | HPCC REV #7 |  | HPCC REV #5-8-09 | HPCC REV #5-8-09 |  | HPCC REV #5-8-09
| La Jolla, CA | [6 empty] | 505-612-9389
[7 empty] | BS Fabrication | Frailings Railings |  | WA Design Inc
[7 empty] | Brian Shutta | Al Bundy |  | Bruce Shindigg
SEC. | DESCRIPTION | [5 empty] | N/Y | N/Y |  |  | N/Y | N/Y
| BASE BID |  |  | #REF! |  | 789000
| SALES TAX |  |  |  | a | a
| PREVAILING WAGE W/ CERTIFIED PAYROLL |  |  |  | a | a
| INSURANCE |  | Y | a | a | a
| UNIION/NONUNION |  | - | - | a | a
| 5/8/09 DRAWINGS & SPECIFICATIONS |  |  |  | a | a
| HPCC SCHEDULE |  |  |  | a | a
| MULTIPLE MOBILIZATIONS |  |  |  | a | a
| RFI #'s 33 & 34 |  |  |  | a | a
| STAIR GUARDRAIL SYSTEM |  |  |  | a | a
| WALL & GLASS MOUNTED SS 316 SATIN FINISH SIDE MOUNT HANDRAILS STAIRS 1, 3, 4, 6, 8 & 9 |  |  |  | a | a
| ALUM BASE SHOE WITH SS COVER & ATTACHMENTS |  |  |  | a | a
| BLOCKING, SPACERS, SHIMS |  |  |  | a | a
| SS COVERS @ STAIR 3, 4, 8, & 9 STRINGERS, AND TOP OF STAIR 6 |  |  |  | a | a
| SS COVERS @ SKYLIGHT OPENINGS |  |  |  | No | W/ SHEETMETAL
| SS UNDER RAIL CHANNEL FOR LIGHTING @ EXTERIOR HANDRAIL STAIR 1 AND EAST HANDRAIL STAIR 6 |  |  |  | a | a
| LIGHTING FOR UNDER-RAIL CHANNEL |  |  |  | No | OK W/ELEC
| SS VERTICAL RACEWAYS AS NEEDED FOR WIRING @ STAIR 1 & 6 UNDER RAIL LIGHTING |  |  |  | a | a
| PREDRILL HOLES IN STRINGERS FOR ATTACHMENT |  |  |  | No | W/ METAL STAIR
| TEMPLATES FOR PREDRILLING @ STRINGERS |  |  |  | a | a
| 1/2" FULLY TEMPERED, UNCOATED, TRANSPARENT FLAT GLASS PANELS |  |  |  | a | a
| RAILING AROUND INTERIOR OPEN TO BELOW |  |  |  | a | a
| INSTALLATION FOR INSERTS / ANCHOR BOLTS |  |  |  | a | a
| WALKWAY/TERRACE GUARDRAIL SYSTEM |  |  |  | a | a
| EAST BALCONY LEVEL 2 |  |  |  | a | a
| POD WALKWAYS |  |  |  | a | a
| LEVEL 2 TERRACE |  |  |  | a | a
| FIELD VERIFY MEASURE INSERTS AFTER CONCRETE |  |  |  | a | a
| POLISH GLASS EXPOSED EDGES |  |  |  | a | a
| WELDED, CLEANLY CUT CORNERS OF RAILING |  |  |  | a | a | [7 empty] | 13325 | 17911
| PROTECTIVE FILM |  |  |  | a | a | [7 empty] | 0 | 0 | 0
| PREDRILLED HOLES IN GLASS PANEL AT ENDS FOR BRACKET |  |  |  | a | a
| ALUM BASE SHOE WITH SS COVER & ATTACHMENTS |  |  |  | a | a
| BLOCKING, SPACERS, SHIMS |  |  |  | a | a
| INSERTS OR ANCHOR BOLTS FOR SLAB EDGE ATTACHMENT POINTS (ILO EXPANSION ANCHORS) |  |  |  | a | a
| INSTALLATION FOR INSERTS / ANCHOR BOLTS |  |  |  | a | a | [7 empty] | 2009-01-05 | 2009-06-23
| TEMPLATES FOR PREDRILLING @ L2 CLOSURE STEEL FOR TERRACE |  |  |  | a | a | [7 empty] | 204246 | 209400
| PREDRILL HOLES IN CLOSURE PLATE FOR ATTACHMENT |  |  |  | No | W/ STR STEEL | [7 empty] | 42593 | 43661
| ATTACHMENT FOR RAIL @ POD'S |  |  |  | a | a | [7 empty] | 79188 | 81398
| PUNCH LIST REPAIR & PROTECTION |  |  |  | a | a | [7 empty] | 13325 | 17911
| GLASS LAYOUT |  |  |  | a | a | [7 empty] | 339352 | 352370
| REMOVE TEMP RAILING |  |  |  | a | a | [7 empty] | 13824 | 13824
[14 empty] | 12191 | 12378
| COMPOSITE CLEANUP |  |  |  | a | a | [7 empty] | #REF! | #REF! | #REF!
| BOND |  |  |  | a | a
|  | Subcontract Amount: |  | #REF! |  | 789000 | [6 empty] | 0