## trade summary
710 Wilshire
Santa Monica, CA
SCHOOL NAME: SOLUTIONS
EXHIBIT IV.A.1 - Schedule of Values Template
ACCT | VE No. | TRADE |  | Quantitiy | Unit of Measure | Unit Price | TOTAL | Less Bond Credit | TOTAL
2100 |  | DEMOLITIOIN |  |  |  |  | 883913
2130 |  | SHORING |  | 45000 | SF | 38-52.5 | 2025000
2203 |  | EARTHWORK |  | 67500 | CY | 29-40 | 2362500
2400 |  | ASPHALT PAVING |  |  |  |  | 68050
2410 |  | STRIPING AND BUMPERS |  |  |  |  | 46000
2501 |  | SITE & OFF-SITE UTILITIES |  |  | Bid Post |  | 168661
2615 |  | SITE CONCRETE |  |  |  |  | 1167891
2800 |  | LANDSCAPE & IRRIGATION |  |  |  |  | 599500
2825 |  | WATER FEATURE |  |  |  |  | 112708
3000 |  | CONCRETE |  |  |  |  | 14674374.8
|  |  | Footings | 3209 | CY
|  |  | Slab on Grade | 34973 | SF
|  |  | Shear Walls | 74346 | SF
|  |  | Columns | 936 | CY
|  |  | Formed Decks | 304985 | SF
3200 |  | REINFORCING STEEL |  |  |  |  | 3974803
3361 |  | SHOTCRETE (Only below-grade concrete walls are shotcrete) |  | 54140 | SF | 20-35 | 2466373.7778
3701 |  | CARBON FIBER REINFORCEMENT |  |  |  |  | 540975
3950 |  | GLASS FIBER REINFORCED CONCRETE |  | 24000 | SF | 85-100 | 4513023.4112
4000 |  | MASONRY |  |  |  |  | 287352
5110 |  | STRUCTURAL STEEL |  |  |  |  | 4362887
5300 |  | METAL DECK |  |  |  |  | W/ 05110
5810 |  | EXPANSION JOINT TREATMENT |  |  |  |  | W/ 07600
6400 |  | WOODWORK
7101 |  | ROOFING
7102 |  | WATERPROOFING
7103 |  | METHANE MITIGATION
7300 |  | INSULATION
7600 |  | SHEET METAL
6100 |  | ROUGH CARPENTRY |  |  |  |  | 11721
6400 |  | WOODWORK |  |  |  |  | 100352
7101 |  | ROOFING |  |  |  |  | 1132779
7102 |  | WATERPROOFING |  |  |  |  | 1404109
7300 |  | INSULATION |  |  |  |  | 314849
7600 |  | SHEET METAL FLASHING & COPING |  |  |  |  | 1178152
8300 |  | DOORS, FRAMES, HARDWARE |  |  |  |  | 2070560
8330 |  | SPECIALTY DOORS |  |  |  |  | 199481
8400 |  | TRANSLUCENT PANEL SYSTEM
8500 |  | GLASS & GLAZING
9010 |  | PLASTER / GYPBOARD / METAL STUD/FIREPROOFING
9300 |  | CERAMIC TILE
8500 |  | GLASS & GLAZING |  |  |  |  | 5238218
9001 |  | HISTORIC PRESERVATION |  |  |  |  | 1150303
9010 |  | PLASTER / GYPBOARD / METAL STUD/FIREPROOFING |  |  |  |  | 9767729
9110 |  | SPRAY ON FIREPROOFING |  |  |  |  | 112000
9300 |  | CERAMIC TILE |  |  |  |  | 40095
9400 |  | TERRAZZO |  | 11000 | SF | 20-40 | 767086.3553
9500 |  | ACOUSTICAL TREATMENT |  |  |  |  | 43126
9650 |  | FLOORING/CARPET/POLISHED CONCRETE
9680 |  | WOOD FLOORING - COURT
9900 |  | PAINTING/WALLCOVER
10001 |  | MISCELLANEOUS SPECIALTIES (Cryo, Sauna)
9650 |  | FLOORING/CARPET/POLISHED CONCRETE |  |  |  |  | 66166
9900 |  | PAINTING/WALLCOVER |  |  |  |  | 616456
10001 |  | MISCELLANEOUS SPECIALTIES |  |  |  |  | 130155
10161 |  | TOILET ACCESSORIES |  |  |  |  | 15852
10440 |  | SIGNAGE ALLOWANCES |  |  |  |  | 63702
11052 |  | WINDOW WASHING EQUIPMENT |  |  |  |  | 494416
13700 |  | PHOTOVOLTAIC AND SOLAR HOT WATER HEATING |  |  |  |  | 77866
13850 |  | SWIMMING POOL AND SPA |  |  |  |  | 515392
14200 |  | ELEVATOR |  |  | Bid Post |  | 2124856
14800 |  | TRASH AND LAUNDRY CHUTES |  |  |  |  | 41392
15400 |  | PLUMBING |  | 390000 | GSF |  | 6962001.8134
15510 |  | FIRE PROTECTION |  | 390000 | GSF |  | 1045177.7259
15600 |  | HVAC |  | 390000 | GSF |  | 5861768.5412
16000 |  | ELECTRICAL |  | 390000 | GSF |  | 5582287.9192
16801 |  | STRUCTURED CABLING |  |  |  |  | 1002240
17000 |  | GENERAL REQUIREMENTS (Less Street Rental/Traffic Control) |  |  |  |  | 4503196
|  |  | Street Rental |  | Analysis |  | 925816
18000 |  | INTERIOR FINISHES ALLOWANCE |  |  |  |  | 14468153
|  | SUBTOTAL DIRECT COSTS |  |  |  |  | 106281466.344 | 0 | 0
3% |  | CONTRACTOR'S CONTINGENCY |  |  |  |  | 3188443.9903 | 0 | 0
|  | GENERAL CONDITIONS |  |  |  | 4715256 | 4715256 | 0 | 4715256
[8 empty] | 0 | 0
0.09% |  | GROSS RECEIPT TAX |  |  |  |  | 95653.3197 | #VALUE! | #VALUE!
1.25% |  | INSURANCE |  |  |  |  | 1328518.3293
4.5% |  | FEE |  |  |  |  | 5202420.2092 | #VALUE! | #VALUE!
|  | TOTAL |  |  |  |  | 115609337.9833 | #VALUE! | #VALUE!